## ReadMe
ITRC PFAS Section 11 Analytical Methods Tables Excel File
The ITRC intends to update these tables periodically as new information is gathered. The user is encouraged to visit the ITRC PFAS web page to access the current version of this file:
https://pfas-1.itrcweb.org
Users who identify updates to the material in this table are encouraged to send that information to itrc@itrcweb.org
June 2024
See the ITRC Disclaimer: | http://pfas-1.itrcweb.org/about-itrc/#disclaimer

## Table 11-2
June 2024
This table, Table 11-2, belongs with the ITRC PFAS Technical and Regulatory Guidance Document. References for the analytical methods are included on the References tab. The ITRC intends to update this table periodically as new information is gathered. The user is encouraged to visit the ITRC PFAS web page to access the current version of this file. Please see the ITRC Disclaimer. Links to the web page and disclaimer are on the Read Me tab.
Table 11-2 Finalized Published PFAS Extraction and Analytical Methods
Media | Method | Validation Status | Method Type (Sampling, Preparation, Analysis) | Sample Container Requirements (type, sample size, number of containers) | Holding Time and Preservation Requirements | Analytical Instrument
Drinking water | USEPA 533 | Multi-laboratory validated | Preparation and Analysis | Polypropylene bottle fitted with a polypropylene screw cap, 100 - 250 mL, one per sample | 1 g/L ammonium acetate added to bottles prior to sampling. Samples received in the laboratory within 48 hours of collection must be received below 10°C. Samples received beyond 2 days of collection must be received with ice remaining in the cooler. Samples must be stored in the laboratory at or below 6°C until extraction, but must not be frozen. Samples must be extracted within 28 days of collection. Sample extracts are generally stored at room temperature and must be analyzed within 28 days after extraction. | LC/MS/MS
Drinking water | USEPA 537.1 | Multi-laboratory validated | Preparation and Analysis | Polypropylene bottle fitted with a polypropylene screw cap, 250 mL, one per sample | 5 g/L Trizma (R) added to bottles prior to sampling. Chill samples to below 10°C during the first 48 hours after collection and during shipment. Upon receipt by the laboratory, sample temperature must be at or below 10°C. Samples must be stored in the laboratory at or below 6°C until extraction, but must not be frozen. Samples must be extracted within 14 days of collection. Sample extracts must be stored at room temperature and must be analyzed within 28 days after extraction. | LC/MS/MS
Surface water, groundwater, wastewater, soil, sediment, biosolids, tissue, and landfill leachate | USEPA Method 1633 | Multi-laboratory validated | Preparation and Analysis | Aqueous: High density polyethylene (HDPE) bottle with linerless HDPE or polypropylene caps Two 500 mL aliquots for sample preparation and a smaller sample container for % solid determination and screening purposes for all but landfill leachates. For landfill leachates, three 100 mL aliquots; two for sample preparation and one for % solid determination and screening purposes. | All matrices: Samples and sample extracts must be stored protected from light after collection through analysis. Maintain samples at 0 - 6°C from time of collection until received by the laboratory. Store sample extracts between 0 - 6°C for up to 90 days before analysis; however ether sulfonate concentrations may be elevated after 28 days. Aqueous: Samples must be received by the laboratory within 48 hours of collection. Samples may be extracted up to 90 days from collection if stored at ≤ -20°C in the laboratory. When stored at 0 - 6°C, samples may be extracted up to 28 days from collection; however, issues are noted for some perfluorooctane sulfonamide ethanols and perfluorooctane sulfonamidoacetic acids after 7 days. Samples may need to be extracted as soon as possible if NFDHA is an important analyte Solids: Samples may be extracted up to 90 days from collection if stored at ≤ -20°C or 0 - 6°C with the caveat that samples may need to be extracted as soon as possible if NFDHA is an important analyte. Storage ≤ -20°C is recommended for biosolids samples if samples are to be stored for more than a few days due to the production of gases due to microbiological activity when stored at 0 - 6°C. Tissue: Whole fish must be received within 24 hours. If longer transportation is necessary for whole fish, freeze the fish before shipping. Samples may be extracted up to 90 days from collection if stored at ≤ -20°C, with the caveat that samples may need to be extracted as soon as possible if NFDHA is an important analyte. | LC/MS/MS
Surface water, groundwater, and wastewater | USEPA SW-846 Method 3512 | Multi-laboratory validated | Preparation | Refers reader to SW-846 Method 8327 |  | NA
Surface water, groundwater, and wastewater | USEPA SW-846 Method 8327 | Multi-laboratory validated | Analysis | polypropylene container or other type of container such as high-density polyethylene (HDPE) may be used if performance is acceptable to project, one per sample | Samples and extracts must be preserved at ≤6°C from time of collection until sample analysis. Formal holding times have not yet been established. A 14-day holding time from sample collection to preparation and a 30-day holding time from sample preparation to analysis may be used as a guide. | LC/MS/MS
AFFF Concentrates | DoD AFFF01 | Multi-laboratory validated | Sampling, preparation, and analysis | High density polyethylene (HDPE) bottle with linerless polypropylene caps, one per sample | No chemical or thermal preservation is required for samples. Samples must be prepared within 90 days of collection. AFFF sample extracts must be stored in the dark at < 4°C until analyzed. Sample extracts may be stored up to 30 days prior to analysis. | LC/MS/MS
Unfiltered drinking water, groundwater, and surface water | ISO 21675:2019 | Multi-laboratory validated | Preparation and Analysis | Information is available upon purchase of method, iso.org |  | LC/MS/MS
Unfiltered drinking water, groundwater, surface water, and wastewaters containing less than 2 g/L solid particulate material | ISO 25101:2009 | Multi-laboratory validated | Preparation and Analysis | Information is available upon purchase of method, iso.org |  | LC/MS/MS
Water sludge, influent, effluent, and wastewater | ASTM D7979-20 | Multi-laboratory validated | Preparation and Analysis | Information is available upon purchase of method, astm.org |  | LC/MS/MS
Soil | ASTM D7968-17a | Single laboratory validated | Preparation and Analysis | Information is available upon purchase of method, astm.org |  | LC/MS/MS
Food (Bread, Lettuce, Milk, and Fish) | FDA CAM Method: C-010.02, Version 2021 | Single laboratory validated | Preparation and Analysis | Not Specified | Not Specified | LC/MS/MS
Blood Serum | CDC: 6304.09 | Single laboratory validated | Preparation and Analysis | Minimum of 0.5 mL of serum or plasma in standard collection container. | Collected sample should be refrigerated as soon as possible and shipped cold. Transfer to polypropylene or polyethylene container for storage and store frozen. | LC/MS/MS
water and wastewater | USEPA Method 1621 | Single-laboratory validated | Preparation and Analysis | Both | Samples and sample extracts must be stored protected from light after collection through analysis. Maintain samples at 0 - 6°C from time of collection until received by the laboratory. Samples must be received by the laboratory within 48 hours of collection. Samples may be extracted up to 90 days from collection if stored at 0 - 6°C. | CIC
Plastic container walls (such as HDPE); may also be used with modification for similar types of solid samples (such as fabric and packaging paper) | Quantitative Extraction and Analysis of PFAS from Plastic Container Walls with Cut Coupons by LC/MSMS | Single-laboratory validated | Preparation and Analysis | Collected plastic sample containers are stored at ambient temperature in cardboard boxes or plastic bags until analysis. | Sample extracts may be retained in capped centrifuge tubes at lab room temperature for up to 28 days or in refrigerated conditions (2-10°C) after extraction. | LC/MS/MS

## Table 11-3
June 2024
This table, Table 11-3, belongs with the ITRC PFAS Technical and Regulatory Guidance Document. References for the analytical methods are included on the References tab. The ITRC intends to update this table periodically as new information is gathered. The user is encouraged to visit the ITRC PFAS web page to access the current version of this file. Please see the ITRC Disclaimer. Links to the web page and disclaimer are on the Read Me tab.
Table 11-3 Finalized Published PFAS Analytical Methods
Media | Method | Requires Entire Sample Collected be Prepared and Analyzed? (Yes/No/NA) | Homogenization of Entire Collected Sample Required? (Yes/No/NA) | Requires Sample Container Rinse to be included in Prepared Sample (Yes/No/NA) | Sample Preparation Technique (e.g., SPE, Solvent Dilution, Solvent Extraction, or Direct Inject) | Cleanup Steps (Yes, No, Optional) | Quantitation Scheme (External Standard, Internal Standard, Isotope Dilution) | Confirmation Transition Ion Required, when applicable? (Yes/No) | Evaluation of Transition Ion Ratio Required? (Yes/No) | Quantitation Limits | Include Branched Isomers in Quantitation? (Yes/No)
Drinking water | USEPA 533 | Yes | NA | Yes | SPE | No | Isotope Dilution and Extracted Internal Standard | No | No | LCMRL: Range from 1.4 ng/L to 13 ng/L, depending on analyte | Yes2
Drinking water | USEPA 537.1 | Yes | NA | Yes | SPE | No | Internal Standard | No | No | LCMRL: Range from 0.53 ng/L to 6.3 ng/L, depending on analyte | Yes2
Surface water, groundwater, wastewater, soil, sediment, biosolids, tissue, and landfill leachate | USEPA Method 1633 | Yes1 | Yes, for solid samples | Yes | SPE | Yes | Isotope Dilution and Extracted Internal Standard | Yes | Yes | LCMRL: Aqueous range from 2.0 ng/L to 40 ng/L, depending on analyte Solid range from 0.2 ng.g to 5.0 ng/g, depending on the analyte. Tissue range from 0.5 ng/g to 12.5 ng/g, depending on the analyte. | Yes2
Surface water, groundwater, and wastewater | USEPA SW-846 Methods 3512 and 8327 | Yes | NA | No, only when sample is transferred to another container | Solvent Dilution | No | External Standard | Yes | Yes | Not Provided | Yes2
AFFF concentrates | DoD AFFF01 | No | Yes | No | SPE | Yes | Isotope Dilution | Yes | Yes | LOQ of < 25 ppb for PFOA and PFOS each | Yes
Unfiltered drinking water, groundwater, and surface water | ISO 25101:2009 | Information is available upon purchase of method |  |  | SPE | Information is available upon purchase of method | Isotope Dilution | Information is available upon purchase of method |  | Reporting Limit: 2.0 ng/L PFOS and 10 ng/L PFOA | No
Unfiltered drinking water, groundwater, surface water, and wastewaters containing less than 2 g/L solid particulate material | ISO 21675:2019 | Information is available upon purchase of method |  |  | SPE | Information is available upon purchase of method | External or Internal Standard | Information is available upon purchase of method |  |  | No
Water sludge, influent, effluent, and wastewater | ASTM D7979-20 | Information is available upon purchase of method |  |  | Direct Injection | Information is available upon purchase of method
Soil | ASTM D7968-17a | Information is available upon purchase of method |  |  | Solvent Extraction | Information is available upon purchase of method |  |  |  | Reporting limit: Ranges from 25 ng/kg to 750 ng/kg, depending on analyte | Information is available upon purchase of method
Food (Bread, Lettuce, Milk, and Fish) | FDA CAM Method: C-010.02, Version 2021 | No | Yes | No | Modified QuEChERS Extraction | No | Isotope Dilution | Yes | Yes | Not Specified | Not Specified
Blood Serum | CDC: 6304.09 | No | No | No | SPE | No | Isotope Dilution | No | No | Limit of Detection: 0.1 ng/mL | Yes, for PFOA and PFOS only
Water and wastewater | USEPA Method 1621 | Yes | NA | No | GAC | Optional | Combustion Ion Chromatography (CIC) | No | No | Method Detection Limit (MDL): 1.5 µg F-/L Minimum Level (ML): 5.0 µg F-/L | No
Plastic container walls (such as HDPE); may also be used with modification for similar types of solid samples (such as fabric and packaging paper) | Quantitative Extraction and Analysis of PFAS from Plastic Container Walls with Cut Coupons by LC/MSMS | No | No | NA | Solvent Extraction | Optional | Isotope Dilution | Yes | Yes | LOQ Range: 0.02 ppb to 0.4 ppb (ng of analyte / g of container) LOD Range: 0.002 ppb to 0.2 ppb | Yes2
1 Routine samples require entire sample to be prepared and analyzed, however includes subsampling protocol for samples with high concentrations of PFAS
2 Branched isomers are to be included only in instances when a quantitative or qualitative standard containing an isomeric mixture of the analyte is analyzed
Note:
SPE - solid-phase extraction
LCMRL - lowest concentration minimum reporting limit
LOQ - limit of quantitation
GAC - granular activated carbon

## Table 11-4
June 2024
This table, Table 11-4, belongs with the ITRC PFAS Technical and Regulatory Guidance Document. References for the analytical methods are included on the References tab. The ITRC intends to update this table periodically as new information is gathered. The user is encouraged to visit the ITRC PFAS web page to access the current version of this file. Please see the ITRC Disclaimer. Links to the web page and disclaimer are on the Read Me tab.
Table 11-4 Published Methods Analyte Lists
Compound | CAS number | USEPA 533 | USEPA 537.1 | USEPA Method 1633 | USEPA SW-846 Method 3512/8327 | ISO 25101:2009 | ISO 21675:2019 | ASTM D7979-20 | ASTM D7968-17a | FDA CAM Method: C-010.02, Version 2021 | CDC: 6304.09 | Quantitative Extraction and Analysis of PFAS from Plastic Container Walls with Cut Coupons by LC/MSMS
Perfluorobutanoic acid (PFBA) | 375-22-4 | X |  | X | X |  | Information is available upon purchase of method | Information is available upon purchase of method | Information is available upon purchase of method | X |  | X
Perfluoropentanoic acid (PFPeA) | 2706-90-3 | X |  | X | X |  |  |  |  | X |  | X
Perfluorohexanoic acid (PFHxA) | 307-24-4 | X | X | X | X |  |  |  |  | X |  | X
Perfluoroheptanoic acid (PFHpA) | 375-85-9 | X | X | X | X |  |  |  |  | X |  | X
Perfluorooctanoic acid (PFOA) | 335-67-1 | X | X | X | X | X |  |  |  | X | X | X
Perfluorononanoic acid (PFNA) | 375-95-1 | X | X | X | X |  |  |  |  | X | X | X
Perfluorodecanoic acid (PFDA) | 335-76-2 | X | X | X | X |  |  |  |  | X | X | X
Perfluoroundecanoic acid (PFUnA) | 2058-94-8 | X | X | X | X | [5 empty] | X | X
Perfluorododecanoic acid (PFDoA) | 307-55-1 | X | X | X | X | [6 empty] | X
Perfluorotridecanoic Acid (PFTrDA) | 72629-94-8 |  | X | X | X | [6 empty] | X
Nonafluoro-3,6-dioxaheptanoic acid (NFDHA) | 151772-58-6 | X |  | X
Perfluoro-3-methoxypropanoic acid (PFMPA) | 377-73-1 | X |  | X
Perfluoro-4-methoxybutanoic acid (PFMBA) | 863090-89-5 | X |  | X
Perfluorotetradecanoic acid (PFTeDA) | 376-06-7 |  | X | X | X | [6 empty] | X
Perfluorohexadecanoic acid (PFHxDA) | 67905-19-5 | [10 empty] | X
Perfluorobutanesulfonic acid (PFBS) | 375-73-5 | X | X | X | X |  |  |  |  | X |  | X
Perfluoropentanesulfonic acid (PFPeS) | 2706-91-4 | X |  | X | X |  |  |  |  | X |  | X
Perfluorohexanesulfonic acid (PFHxS) | 355-46-4 | X | X | X | X |  |  |  |  | X | X | X
Perfluoroheptanesulfonic Acid (PFHpS) | 375-92-8 | X |  | X | X |  |  |  |  | X |  | X
Perfluorooctanesulfonic acid (PFOS) | 1763-23-1 | X | X | X | X | X |  |  |  | X | X | X
Perfluorononanesulfonic acid (PFNS) | 68259-12-1 |  |  | X | X | [6 empty] | X
Perfluorodecanesulfonic acid (PFDS) | 335-77-3 |  |  | X | X | [6 empty] | X
Perfluorododecanesulfonic acid (PFDoS) | 79780-39-5 |  |  | X | [7 empty] | X
Perfluoro(2-ethoxyethane)sulfonic acid (PFEESA) | 113507-82-7 | X |  | X
Perfluorooctanesulfonamide (PFOSA) | 754-91-6 |  |  | X | X
N-methyl perfluorooctane sulfonamidoacetic acid (NMeFOSAA) | 2355-31-9 |  | X | X | X | [5 empty] | X | X
N-ethyl perfluorooctane sulfonamidoacetic acid (NEtFOSAA) | 2991-50-6 |  | X | X | X | [5 empty] | X | X
1H, 1H, 2H, 2H-Perfluorohexane sulfonic acid (4:2FTS) | 757124-72-4 | X |  | X | X | [6 empty] | X
1H, 1H, 2H, 2H-Perfluorooctane sulfonic acid (6:2 FTS) | 27619-97-2 | X |  | X | X | [6 empty] | X
1H, 1H, 2H, 2H-Perfluorodecane sulfonic acid (8:2FTS) | 39108-34-4 | X |  | X | X | [6 empty] | X
N-Methyl perfluorooctane sulfonamidoethanol (NMeFOSE) | 24448-09-7 |  |  | X
N-Ethyl perfluorooctane sulfonamidoethanol (NEtFOSE) | 1691-99-2 |  |  | X
N-Methyl perfluorooctane sulfonamide (NMeFOSA) | 31506-32-8 |  |  | X
N-Ethyl perfluorooctane sulfonamide (NEtFOSA) | 4151-50-2 |  |  | X
Decafluoro-4-(pentafluoroethyl) cyclohexanesulfonic acid (PFECHS) | 67584-42-3
2-perfluorohexyl ethanoic acid (FHEA) | 53826-12-3
2-perfluorooctyl ethanoic acid (FOEA) | 27854-31-5
2-perfluorodecyl ethanoic acid (FDEA) | 53826-13-4
2H-perfluoro-2-decenoic acid (FOUEA) | 70887-84-2
3-perfluoroheptyl propanoic acid (7:3FTCA) | 812-70-4 |  |  | X
2H-perfluoro-2-octenoic acid (FHUEA) | 70887-88-6
Hexafluoropropylene oxide dimer acid (HFPO-DA) | 13252-13-6 | X | X | X | [5 empty] | X | X | X
11-Chloroeicosafluoro-3-oxaundecane-1- sulfonic acid (11Cl- PF3OUdS) | 763051-92-9 | X | X | X | [5 empty] | X |  | X
9-Chlorohexadecafluoro-3-oxanonane-1- sulfonic acid (9Cl-PF3ONS) | 756426-58-1 | X | X | X | [5 empty] | X | X | X
4,8-Dioxa-3H-perfluorononanoic acid (ADONA) | 919005-14-4 | X | X | X | [5 empty] | X | X | X
3-Perfluoropropyl propanoic acid (3:3FTCA) | 356-02-5 |  |  | X
2H, 2H, 3H, 3H-Perfluorooctanoic acid (5:3FTCA) | 914637-49-3 |  |  | X
Perfluorooctadecanoic Acid (PFODA) | 16517-11-6 | [10 empty] | X
Perfluorooctane sulfonamidoacetic Acid (FOSAA) | 2806-24-8 | [10 empty] | X
Note: Compound names and acronyms are based on the analytical methods used to prepare the table.

## Table 11-5
June 2024
This table, Table 11-5, belongs with the ITRC PFAS Technical and Regulatory Guidance Document. References for the analytical methods are included on the References tab. The ITRC intends to update this table periodically as new information is gathered. The user is encouraged to visit the ITRC PFAS web page to access the current version of this file. Please see the ITRC Disclaimer. Links to the web page and disclaimer are on the Read Me tab.
Table 11-5 Draft Published PFAS-Related Analytical Methods
| Media | Method | Analytes | Validation Status | Method Type (Preparation, Analysis, or Both) | Sample Container Requirements (type, minimal sample size, number of containers) | Holding Time and Preservation Requirements | Analytical Instrument
| Air emissions from stationary sources | USEPA Draft Other Test Method 45 (OTM 45) | PFAS | Single-laboratory validated | Sampling, preparation, and analysis | Glass or quartz fiber filter, XAD-2 adsorbent module, and impingers | All samples must be stored in the dark after collection. Field Storage and Shipping: Store filters in the field cool, but not on ice. Ship filters unrefrigerated. Store and ship all other samples on ice (4°C). Laboratory storage before extraction: Store sampling train rinses, particulate filter, and XAD-2 samples at ≤ 6°C. Extract sampling train rinses and particulate filter samples within 28 days of date of collection. Extract XAD-2 samples within one year of date of collection. (Note: Table 45-4 in the method says extract XAD within 28 days of collection). Laboratory storage after extraction: Store all extracts at room temperature and analyze within 28 days of date of extraction. | LC/MS/MS
| Air emissions from stationary sources | USEPA Draft Other Test Method 50 (OTM 50) | Targeted and Non-Targeted Volatile Fluorinated Compounds (VFCs) | Single-laboratory validated | Sampling, preparation, and analysis | 6-Liter Passivated Silicon Ceramic Lined Stainless Steel Containers (The configuration follows one of three sample train systems depending on the source gas characteristics, including a direct VFC sampling system, a VFC canister sampling system with water/acid gas management, and VFC canister sampling system with multiple canisters.) | Once the canisters have been sampled, they should be placed in the individual protective containers and then in a shipping box. Store canisters in a dry location, above freezing temperatures. Samples must be analyzed within 30 days from collection unless stabilities have been verified for longer storage time. | GC/MS

## References
June 2024
ITRC PFAS Section 11 Analytical Methods Tables Excel File
References
Method | Citation
ASTM D7968-17a | ASTM. 2017. Standard Test Method for Determination of Polyfluorinated Compounds in Soil by Liquid Chromatography Tandem Mass Spectrometry (LC/MS/MS). D7968-17a. West Conshocken, PA: ASTM International. https://www.astm.org
ASTM D7979-20 | ASTM. 2020. Standard Test Method for Determination of Per- and Polyfluoroalkyl Substances in Water, Sludge, Influent, Effluent, and Wastewater by Liquid Chromatography Tandem Mass Spectrometry (LC/MS/MS). D7968-17a. West Conshocken, PA: ASTM International. https://www.astm.org
CDC 6304.09 | CDC. 2009. Polyfluoroalkyl Chemicals in Serum. Laboratory Protocol. CDC 6304. Division of Laboratory Sciences. https://www.cdc.gov/nchs/data/nhanes/nhanes_05_06/pfc_d_met.pdf
DoD AFFF01 | Willey, J.L. 2021. Determination of Perfluorooctanoic acid and Perfluorooctane sulfonic acid in Aqueous File Forming Foam (AFFF) for Demonstration of Compliance to MIL-PRF-24385. DoD AFFF01, Rev. 1.0. https://www.denix.osd.mil/edqw/documents/documents/dod-afff01-rev-1-0-dtd-7-dec-2021/DoD%20AFFF01%20Rev%201.0%20%20dtd%20%207%20Dec%202021-1.pdf.
FDA C-010.02 | USFDA. 2021. FDA Foods Program Compendium of Analytical Laboratory Methods: Chemical Analytical Manual (CAM). C-010.02. https://www.fda.gov/food/laboratory-methods-food/foods-program-compendium-analytical-laboratory-methods
ISO 21675:2019 | ISO. 2019. Water Quality Determination of Perfluoroalkyl and Polyfluoroalkyl Substances (PFAS) in Water - Method Using Soild Phase Extraction and Liquid Chromatography - Tandem Mass Spectrometry (LC-MS/MS). https://www.iso.org
ISO 25101:2009 | ISO. 2009. Technical Committee (TC) 147, Water quality - Determination of perfluorooctansulfonate (PFOS) and perfluorooctanoate (PFOA) - Method for unfiltered samples using solid phase extraction and liquid ISO 25101:2009.
Quantitative Extraction and Analysis of PFAS from Plastic Container Walls with Cut Coupons by LC/MSMS | USEPA. 2024. Quantitative Extraction and Analysis of PFAS from Plastic Container Walls with Cut Coupons by LC/MSMS. Washington, D.C.: Office of Pesticide Programs (OPP) https://www.epa.gov/pesticides/pfas-packaging
USEPA Draft Method 1621 | USEPA. 2022. Draft Method 1621. Screening Method for the Determination of Adsorbable Organic Fluorine (AOF) in Aqueous Matrices by Combustion Ion Chromatography (CIC). EPA 821-D-22-002. Washington, D.C.: U.S. Environmental Protection Agency Office of Water (4303T). https://www.epa.gov/cwa-methods/cwa-analytical-methods-and-polyfluorinated-alkyl-substances-pfas.
USEPA Draft Method 1633 | USEPA. 2023. 4th Draft Method 1633. Analysis of Per- and Polyfluoroalkyl Substances (PFAS) in Aqueous, Solid, Biosolids, and Tissue Samples by LC-MS/MS. EPA 821-D-23-001. Washington, DC: USEPA Office of Water (4303T). https://www.epa.gov/cwa-methods/cwa-analytical-methods-and-polyfluorinated-alkyl-substances-pfas#draft-method-1633.
USEPA Method 3512 | USEPA. 2021. Solvent Dilution of Non-Potable Waters. Washington, D.C.: USEPA https://www.epa.gov/system/files/documents/2021-07/3512.pdf
USEPA Method 533 | USEPA. 2019. Method 533: Determination of Per- and Polyfluoroalkyl Substances in Drinking Water by Isotope Dilution Anion Exchange Solid Phase Extraction and Liquid Chromatography/Tandem Mass Spectrometry. EPA/815-B-19-20. Cincinnati, OH. https://www.epa.gov/sites/production/files/2019-12/documents/method-533-815b19020.pdf.
USEPA Method 537 | USEPA. 2009. Determination of Selected Perfluorinated Alkyl Acids in Drinking Water by Solid Phase Extraction and Liquid Chromatography/Tandem Mass Spectrometry (LC/MS/MS). USEPA Method 537, Rev 1.1, EPA 600-R-08-092: USEPA.
USEPA Method 537.1 | USEPA. 2018. Method 537.1: Determination of Selected Per- and Polyfluorinated Alkyl Substances in Drinking Water by Solid Phase Extraction and Liquid Chromatography/Tandem Mass Spectrometry (LC/MS/MS). Washington, D. C.: Office of Research and Development U.S. Environmental Protection Agency, National Center for Environmental Assessment.
USEPA Method 1621 | USEPA. 2024. Method 1621: Determination of Adsorbable Organic Fluorine (AOF) in Aqueous Matrices by Combustion Ion Chromatography (CIC). Washington, D.C.: Office of Water https://www.epa.gov/cwa-methods/cwa-analytical-methods-and-polyfluorinated-alkyl-substances-pfas#method-1621
USEPA Method 8327 | USEPA. 2021. Method 8327 Per- and Polyfluoroalkyl Substances (PFAS) by Liquid Chromatography/Tandem Mass Spectrometry (LC/MS/MS). Washington, D.C.: USEPA. https://www.epa.gov/hw-sw846/sw-846-test-method-8327-and-polyfluoroalkyl-substances-pfas-liquid-chromatographytandem.
USEPA OTM-45 | USEPA. 2021. Other Test Method 45 (OTM-45) Measurement of Selected Per- and Polyfluorinated Alkyl Substances from Stationary Sources. Washington, D.C.: USEPA https://www.epa.gov/emc/emc-other-test-methods