## ReadMe
ITRC PFAS-1 Technical and Regulatory Guidance Document
Table 3-1. AFFF Characteristics Summary Table
The ITRC intends to update this table periodically as new information is gathered. The user is encouraged to visit the ITRC PFAS web page (http://pfas-1.itrcweb.org) to access the current version of this file.
Users who identify updates to the material in this table are encouraged to send that information to itrc@itrcweb.org
April 2025
EXTERNAL REVIEW DRAFT - ITRC DRAFT Material - Do not cite or quote
See ITRC Disclaimer http://pfas-1.itrcweb.org/about-itrc/#disclaimer
Note to reviewers:
In the 2025 - AFFF - Updated sheet records were added for more foams. We are looking for additional information for these added foams to complete the information in the table.
In the 2025 fluorine-free foams (F3) New sheet this is new a new compilation for 2025. The information has been compiled from three sources, IC2, Green Screen and the QPL database, as noted on the table. We are looking for additional information for these added foams to complete the information in the table.

## 2025- AFFF-Updated
Table 3-1. AFFF Characteristics Summary Table
April 2025
ITRC DRAFT Material - Do not cite or quote
Name | Category | Sub-category | Type | Product Mixture | US Milspec (now and/or historically) | Date Approved for Use | Date Removed from QPL | Previously Approved for Use | Previously Removed from QPL | Other Specifications | Market End-Use | Manfacturer Name | Date of Manufacture | Manufacturer Location | NOTES | Reference
3M, Foam, Liquid FC-780 | Legacy |  | AFFF | 6% | Yes | [5 empty] | Military/Aviation | 3M | 1979 | St. Paul, MN | Milspec
6% AFFF TYPE FC-206CE | Legacy | Electrochemical Fluorination (ECF) | AFFF | 6% | Yes | 1990-12-18 | 2002-04-24 | 1984-02-08 | 1990-02-20 |  | Military/Aviation | 3M |  | Not provided | from Navy-memo 10/24/2014 | http://www.dcfpnavymil.org/Systems/AFFF/QPL%2024385%20HISTORY%20-%20TYPE%206.pdf
6% AFFF TYPE FC-206CE | Legacy | Electrochemical Fluorination (ECF) | AFFF | 6% | Yes | 1990-12-18 | 2002-04-24 | 1984-02-08 | 1990-02-20 |  | Military/Aviation | 3M
AER-O-Foam 3% Fluoroprotein Foam |  | Fluoroprotein (FP) | AFFF | 3% | [7 empty] | CHUBB/National Foam
AER-O-Foam 3% XL-3 Fluoroprotein Foam |  | Fluoroprotein (FP) | AFFF | 3% | [7 empty] | CHUBB/National Foam
Aer-O-Foam XLX-3% Fluoroprotein Foam |  | Fluoroprotein (FP) | AFFF | 3% | [7 empty] | Ansul
Aer-O-Lite 3% AFFF |  |  | AFFF | 3% | [7 empty] | 1st Defense Red Alert
Aer-O-Lite 3% AFFF |  |  | AFFF | 3% | [7 empty] | National Foam
Aer-O-Lite 3% AFFF |  |  | AFFF | 3% | [7 empty] | Angus
Aer-O-Lite 3% AFFF |  |  | AFFF | 3% | [7 empty] | National Foam
Aer-O-Lite 3% Cold Foam |  |  | AFFF | 3% | [7 empty] | National Foam
Aer-O-Lite 6% AFFF |  |  | AFFF | 6% | [7 empty] | National Foam
Aer-O-Water 1% AFFF |  |  | AFFF | 1% | [7 empty] | National Foam
Aer-O-Water 3EM 3% AFFF | Modern | Fluorotelomer | AFFF | 3% | Yes | 2020-04-30 |  |  |  |  | Military/Aviation | National Foam
Aer-O-Water 3EM C6 3% AFFF | Modern | Fluorotelomer | AFFF | 3% | Yes | 2020-04-30 |  |  |  |  | Military/Aviation | Chemguard (Tyco/Johnson Controls)
Aer-O-Water 3EM C6 3% AFFF | Modern | Fluorotelomer | AFFF | 3% | Yes | 2020-04-30 |  |  |  |  | Military/Aviation | Delta-Omega
AER-O-WATER 3EM-C6 AFFF | Modern | Fluorotelomer | AFFF | 3% | Yes | 2020-04-30 |  |  |  |  | Military/Aviation | National Foam |  | Angier, NC | from current QPL | https://qpldocs.dla.mil/search/parts.aspx?qpl=1910
AER-O-WATER 3EM-C6 AFFF | Modern | Fluorotelomer | AFFF | 3% | Yes | 2020-04-30 |  |  |  |  | Military/Aviation | 1st Defense Red Alert
AER-O-WATER 3EM-C6 AFFF | Modern | Fluorotelomer | AFFF | 3% | Yes | 2020-04-30 |  |  |  |  | Military/Aviation | 3M
AER-O-WATER 3EM-C6 AFFF | Modern | Fluorotelomer | AFFF | 3% | Yes | 2020-04-30 |  |  |  |  | Military/Aviation | National Foam
AER-O-WATER 6 | Legacy | Fluorotelomer | AFFF | 6% | Yes | 1976-06-03 | 1978-01-16 |  |  |  | Military/Aviation | National Foam System Inc |  | Not provided | from Navy-memo 10/24/2014 | http://www.dcfpnavymil.org/Systems/AFFF/QPL%2024385%20HISTORY%20-%20TYPE%206.pdf
AER-O-WATER 6EM | Legacy | Fluorotelomer | AFFF | 6% | Yes | 1997-04-29 | 2004-01-02 | 1992-05-21 | 1997-04-29 |  | Military/Aviation | CHUBB National Foam, Inc. |  | Not provided | from Navy-memo 10/24/2014 | http://www.dcfpnavymil.org/Systems/AFFF/QPL%2024385%20HISTORY%20-%20TYPE%206.pdf
AER-O-WATER 6EM | Legacy | Fluorotelomer | AFFF | 6% | Yes | 2004-01-02 |  |  |  | Approved until at least 10/24/2014 | Military/Aviation | Kidde |  | Not provided | from Navy-memo 10/24/2014 | http://www.dcfpnavymil.org/Systems/AFFF/QPL%2024385%20HISTORY%20-%20TYPE%206.pdf
AER-O-WATER 6EM-C6 AFFF | Modern | Fluorotelomer | AFFF | 6% | Yes | 2020-05-30 |  |  |  |  | Military/Aviation | National Foam |  | Angier, NC | from current QPL | https://qpldocs.dla.mil/search/parts.aspx?qpl=1910
AER-O-WATER 6MD | Legacy | Fluorotelomer | AFFF | 6% | Yes | 1990-12-18 | 2002-04-24 | 1982-05-04 | 1989-03-22 | Also approved 4/29/1997 and removed 9/30/1998 | Military/Aviation | National Foam System Inc |  | Not provided | from Navy-memo 10/24/2014 | http://www.dcfpnavymil.org/Systems/AFFF/QPL%2024385%20HISTORY%20-%20TYPE%206.pdf
AER-O-WATER 6MD | Legacy | Fluorotelomer | AFFF | 6% | Yes | 1990-12-18 | 1997-04-29 | 1989-03-22 | 1990-02-20 |  | Military/Aviation | CHUBB National Foam, Inc. |  | Not provided | from Navy-memo 10/24/2014 | http://www.dcfpnavymil.org/Systems/AFFF/QPL%2024385%20HISTORY%20-%20TYPE%206.pdf
AER-O-WATER PLUS 3% |  |  | AFFF | 3% | [7 empty] | Aer-6-Foam XL-3
AER-O-WATER PLUS 3% |  |  | AFFF | 3% | [7 empty] | National Foam
AFC-2 | Legacy | Fluorotelomer | AFFF | 6% | Yes | 1978-01-16 | 1982-05-04 |  |  |  | Military/Aviation | Ansul |  | Not provided | from Navy-memo 10/24/2014 | http://www.dcfpnavymil.org/Systems/AFFF/QPL%2024385%20HISTORY%20-%20TYPE%206.pdf
AFC-5 | Legacy | Fluorotelomer | AFFF | 6% | Yes | 1982-05-04 | 1982-09-04 |  |  |  | Military/Aviation | Ansul |  | Not provided | from Navy-memo 10/24/2014 | http://www.dcfpnavymil.org/Systems/AFFF/QPL%2024385%20HISTORY%20-%20TYPE%206.pdf
Akron Foam Dubl-Tuff 3% |  |  |  | 3% | [7 empty] | Akron Brass/Akron Foam
Alcoseal 3-6 Alcohol Resistant Film-Forming FluoroProtein (AR-FFFP) Foam Concentrate |  | Fluoroprotein (FP) | AR-FFFP | 3%x6% | [7 empty] | 3M
Alcoseal 3-6 Alcohol Resistant Film-Forming FluoroProtein (AR-FFFP) Foam Concentrate |  | Fluoroprotein (FP) | AR-FFFP | 3%x6% | [7 empty] | Angus
Alcoseal C6 3% x 3% Alcohol Resistant Film-Forming FluoroProtein (AR-FFFP) Foam Concentrate |  | Fluoroprotein (FP) | AR-FFFP | 3%x3% | [7 empty] | Chemguard (Tyco/Johnson Controls)
Alcoseal C6 3-6 Alcohol Resistant Film-Forming FluoroProtein (AR-FFFP) Foam Concentrate |  | Fluoroprotein (FP) | AR-FFFP | 3%x6% | [7 empty] | Angus
Alcoseal C6 3-6 Alcohol Resistant Film-Forming FluoroProtein (AR-FFFP) Foam Concentrate |  | Fluoroprotein (FP) | AR-FFFP | 3%x6% | [7 empty] | Pioneer Chemicals
Angus FP350 C6 3% FluoroProtein Foam |  | Fluoroprotein (FP) |  | 3% | [7 empty] | Angus
Angus FP600 C6 6% FluoroProtein Foam |  | Fluoroprotein (FP) |  | 6% | [7 empty] | Angus
Angus FP70 C6 3% FluoroProtein Foam |  | Fluoroprotein (FP) |  | 3% | [7 empty] | Angus
Angus FP70 Plus 3% FluoroProtein Foam |  | Fluoroprotein (FP) |  | 3% | [7 empty] | Angus
Angus Hi-Ex 1.5% - 3% High Expansion Foam | [11 empty] | Ansul/Tyco/Johnson Controls
Ansul | Legacy |  | AFFF | 6% | Yes | [5 empty] | Military/Aviation | Ansul | 1978 | Marinette, WI
Ansul 3% Fluoroprotein Foam Concentrate |  | Fluoroprotein (FP) |  | 3% | [7 empty] | Ansul
Ansul AFFF | Legacy | Fluorotelomer | AFFF | 6% | Yes | 1976-06-03 | 1978-01-16 |  |  |  | Military/Aviation | Ansul |  | Not provided | from Navy-memo 10/24/2014 | http://www.dcfpnavymil.org/Systems/AFFF/QPL%2024385%20HISTORY%20-%20TYPE%206.pdf
Ansul LVS NF-40 Non-Fluorinated Liquid Fire Suppression Agent |  | Fluorine Free Foam (F3/FFF) | SFFF | [6 empty] | For heavy vehicle fires |  | Ansul
Ansul LVS NF-40 Non-Fluorinated Liquid Fire Suppression Agent |  | Fluorine Free Foam (F3/FFF) | SFFF | [6 empty] | For heavy vehicle fires |  | Chemguard (Tyco/Johnson Controls)
ANSUL NFF 3%X3% UL201 Non-Fluorinated Foam |  | Fluorine Free Foam (F3/FFF) | SFFF | 3%x3% | [7 empty] | Ansul
Ansul Training 3% or 6% Foam Concentrate |  | Training (Fluorine Free) | Training | 3% or 6% | [5 empty] | Training foam to simulate AFFF |  | Tridol (Angus)
Ansul Training 3% or 6% Foam Concentrate |  | Training (Fluorine Free) | Training | 3% or 6% | [5 empty] | Training foam to simulate AFFF |  | Ansul/Williams/Tyco/Johnson Controls
Ansulite |  |  | AFFF | 6% | No | [5 empty] | Civilian | Ansul | 1991 | Marinette, WI | Gray container, PN 54391
Ansulite 1% or 3% AR-AFFF Concentrate (F-601A) |  |  | AR-AFFF | 1%x3% | [7 empty] | Ansul/Williams/Tyco/Johnson Controls
Ansulite 3% AFFF Concentrate (AFC-3A) |  |  | AFFF | 3% | [7 empty] | Angus
Ansulite 3% AFFF Concentrate (AFC-3A) |  |  | AFFF | 3% | [7 empty] | Ansul
ANSULITE 3% AFFF CONCENTRATE (FORMULATION DC-3) |  |  | AFFF | 3% | [7 empty] | Ansul
ANSULITE 3% AFFF ICAO-B |  |  | AFFF | 3% | [7 empty] | Ansul
Ansulite 3% or 6% AR-AFFF Concentrate (F-600A) |  |  | AR-AFFF | 3%x6% | [7 empty] | National Foam
Ansulite 3% or 6% AR-AFFF Concentrate (F-600A) |  |  | AR-AFFF | 3%x6% | [7 empty] | Ansul
Ansulite 3% or 6% AR-AFFF Concentrate (F-600A) |  |  | AR-AFFF | 3%x6% | [7 empty] | Chemguard (Tyco/Johnson Controls)
Ansulite 3% or 6% AR-AFFF Concentrate (F-600A) |  |  | AR-AFFF | 3%x6% | [7 empty] | Ansul/Williams/Tyco/Johnson Controls
Ansulite 3%x6% AR-AFFF Concentrate (A364) |  |  | AR-AFFF | 3%x6% | [7 empty] | Angus
Ansulite 3%x6% AR-AFFF Concentrate (A364) |  |  | AR-AFFF | 3%x6% | [7 empty] | Chemguard (Tyco/Johnson Controls)
Ansulite 3%x6% AR-AFFF Concentrate (A364) |  |  | AR-AFFF | 3%x6% | [7 empty] | Mine Safety Appliances (MSA)
Ansulite 3%x6% AR-AFFF Concentrate (A364) |  |  | AR-AFFF | 3%x6% | [7 empty] | National Foam
Ansulite 3%x6% AR-AFFF Concentrate (A364) |  |  | AR-AFFF | 3%x6% | [7 empty] | Ansul/Williams/Tyco/Johnson Controls
Ansulite 3x3 3% Low-Viscosity AR-AFFF Concentrate |  |  | AR-AFFF | 3%x3% | [7 empty] | Angus
Ansulite 3x3 3% Low-Viscosity AR-AFFF Concentrate |  |  | AR-AFFF | 3%x3% | [7 empty] | Ansul
Ansulite 3x3 3% Low-Viscosity AR-AFFF Concentrate (A334-LV) |  |  | AR-AFFF | 3%x3% | [7 empty] | Ansul
ANSULITE 3x6 AR-AFFF (A364) |  |  | AR-AFFF | 3%x6% | [7 empty] | 3M
ANSULITE 3x6 AR-AFFF (A364) |  |  | AR-AFFF | 3%x6% | [7 empty] | Angus
ANSULITE 3x6 AR-AFFF (A364) |  |  | AR-AFFF | 3%x6% | [7 empty] | Ansul
ANSULITE 3x6 AR-AFFF (A364) |  |  | AR-AFFF | 3%x6% | [7 empty] | Chemguard (Tyco/Johnson Controls)
ANSULITE 3x6 AR-AFFF (A364) |  |  | AR-AFFF | 3%x6% | [7 empty] | National Foam
ANSULITE 3x6 AR-AFFF (A364) |  |  | AR-AFFF | 3%x6% | [7 empty] | Tyco/Johnson Controls
Ansulite 6% AFFF Concentrate (AFC-3) |  |  | AFFF | 6% | [7 empty] | Ansul
Ansulite 6% AFFF Concentrate (AFC-5) | Legacy | Fluorotelomer | AFFF | 6% | Yes | 2010-08-10 |  |  |  | Approved until at least 10/24/2014 | Military/Aviation | Ansul
ANSULITE 6% AFFF/AFC-5 | Legacy | Fluorotelomer | AFFF | 6% | Yes | 2010-08-10 |  |  |  | Approved until at least 10/24/2014 | Military/Aviation | Ansul/Tyco |  | Not provided | from Navy-memo 10/24/2014 | http://www.dcfpnavymil.org/Systems/AFFF/QPL%2024385%20HISTORY%20-%20TYPE%206.pdf
ANSULITE AFC-3MS 3% AFFF | Modern | Fluorotelomer | AFFF | 3% | Yes | 2019-02-15 |  | 2015-12-14 |  |  | Military/Aviation | Tyco Fire Products LP Ansul Brands |  | Marinette, WI | from current QPL | https://qpldocs.dla.mil/search/parts.aspx?qpl=1910
ANSULITE AFC-6MS 6% AFFF | Modern | Fluorotelomer | AFFF | 6% | Yes | 2019-02-15 |  | 2015-12-14 |  |  | Military/Aviation | Tyco Fire Products LP Ansul Brands |  | Marinette, WI | from current QPL | https://qpldocs.dla.mil/search/parts.aspx?qpl=1910
ANSULITE ARC 3% and 6% AR-AFFF Concentrate |  |  | AR-AFFF | 3%x6% | [7 empty] | 3M
ANSULITE ARC 3% and 6% AR-AFFF Concentrate |  |  | AR-AFFF | 3%x6% | [7 empty] | Angus
ANSULITE ARC 3% and 6% AR-AFFF Concentrate |  |  | AR-AFFF | 3%x6% | [7 empty] | Chemguard (Tyco/Johnson Controls)
ANSULITE ARC 3% and 6% AR-AFFF Concentrate |  |  | AR-AFFF | 3%x6% | [7 empty] | National Foam
ANSULITE ARC 3% and 6% AR-AFFF Concentrate |  |  | AR-AFFF | 3%x6% | [7 empty] | Ansul/Tyco/Johnson Controls
Ansulite ARC 3% or 6% Freeze-Protected AR-AFFF Concentrate |  |  | AR-AFFF | 3%x6% | [7 empty] | Ansul
ANSULITE C6 3% Aquoeus Film Forming Foam Concentrate (AFC3B) |  |  | AFFF | 3% | [7 empty] | Ansul
Ansulite Premium 3% AFFF Concentrate MIL SPEC (AFC-5A) |  |  | AFFF | 3% | [7 empty] | Ansul
ARCTIC 3% MIL-SPEC AFFF | Modern | Fluorotelomer | AFFF | 3% | Yes | 2016-03-29 |  |  |  |  | Military/Aviation | Perimeter Solutions LP, Solberg Company |  | Green Bay, WI | from current QPL | https://qpldocs.dla.mil/search/parts.aspx?qpl=1910
ARCTIC 6% MIL-SPEC AFFF | Modern | Fluorotelomer | AFFF | 6% | Yes | 2016-03-29 |  |  |  |  | Military/Aviation | Perimeter Solutions LP, Solberg Company |  | Green Bay, WI | from current QPL | https://qpldocs.dla.mil/search/parts.aspx?qpl=1910
ARCTIC 6% MIL-SPEC AFFF | Modern | Fluorotelomer | AFFF | 6% | Yes | 2016-03-29 |  |  |  |  | Military/Aviation | Ansul
Buckeye 3% MIL-SPEC |  |  |  | 3% | [7 empty] | Buckeye Fire Equipment Company
Buckeye 33.1 Platinum 3 x 3% |  |  |  | 3%x3% | [7 empty] | Buckeye Fire Equipment Company
Buckeye 36.1 Platinum 3 x 6% |  |  |  | 3%x6% | [7 empty] | Buckeye Fire Equipment Company
Buckeye Platinum 1.1 1% AFFF |  |  | AFFF | 1% | [7 empty] | Buckeye Fire Equipment Company
Buckeye Platinum 3.1 3% AFFF |  |  | AFFF | 3% | [7 empty] | Buckeye Fire Equipment Company
Buckeye Platinum Plus AR-AFFF |  |  | AR-AFFF | [8 empty] | Buckeye Fire Equipment Company
Centurion 3% AFFF |  |  | AFFF | 3% | [7 empty] | National Foam
Centurion 3% AR-AFFF |  |  | AR-AFFF | 3% | [7 empty] | National Foam
Centurion 3% x 6% AR-AFFF |  |  | AR-AFFF | [8 empty] | National Foam
Chemguard 1% AFFF (C103) |  |  | AFFF | 1% | [7 empty] | Chemguard (Tyco/Johnson Controls)
Chemguard 1%-3% Ultraguard AR-AFFF (C134) |  |  | AR-AFFF | 1%x3% | [7 empty] | Chemguard (Tyco/Johnson Controls)
Chemguard 3% - 6% (CAR36P) |  |  |  | 3%x6% | [7 empty] | Chemguard (Tyco/Johnson Controls)
Chemguard 3% AFFF (C301) |  |  | AFFF | 3% | [7 empty] | Chemguard (Tyco/Johnson Controls)
Chemguard 3% AFFF (C306-MS) |  |  | AFFF | 3% | [7 empty] | Chemguard (Tyco/Johnson Controls)
CHEMGUARD 3% AFFF C-301MS | Legacy | Fluorotelomer | AFFF | 3% | Yes | 1997-01-30 |  |  |  |  | Military/Aviation | Tyco Fire Products LP Ansul Brands |  | Marinette, WI | from Navy-memo 12/15/2015 | https://www.secnav.navy.mil/foia/readingroom/HotTopics/Aqueous%20Film%20Forming%20Foam%20(AFFF)/CNIC-CNRH/New%20C6%20AFFF.pdf
CHEMGUARD 3% AFFF C-301MS | Legacy | Fluorotelomer | AFFF | 3% | Yes | 1997-01-30 |  |  |  |  | Military/Aviation | Chemguard (Tyco/Johnson Controls)
CHEMGUARD 3% AFFF C-306 |  |  | AFFF | 3% | [7 empty] | Chemguard (Tyco/Johnson Controls)
Chemguard 3% AFFF MS (C301-MS) | Legacy | Fluorotelomer | AFFF | 3% | Yes | 1997-01-30 |  |  |  |  | Military/Aviation | Chemguard (Tyco/Johnson Controls)
Chemguard 3% High Expansion AFFF (SG3HE) |  |  | AFFF | 3% | [7 empty] | Chemguard (Tyco/Johnson Controls)
Chemguard 3% MIL-SPEC AFFF (C301-MS) | Legacy | Fluorotelomer | AFFF | 3% | Yes | 1997-01-30 |  |  |  |  | Military/Aviation | Chemguard (Tyco/Johnson Controls)
Chemguard 3% Ultraguard AR-AFFF (CUGD) |  |  | AR-AFFF | 3% | [7 empty] | Chemguard (Tyco/Johnson Controls)
Chemguard 3% x 3% Non-Spinkler AR-AFFF (C333) |  |  | AR-AFFF | 3%x3% | [7 empty] | Chemguard (Tyco/Johnson Controls)
Chemguard 3% x 3% Ultraguard AR-AFFF (CUG) |  |  | AR-AFFF | 3%x3% | [7 empty] | Chemguard (Tyco/Johnson Controls)
Chemguard 3% x 6% High Expansion AFFF (SG36HE) |  |  | AFFF | 3%x6% | [7 empty] | Chemguard (Tyco/Johnson Controls)
Chemguard 3x3 AR-AFFF LV |  |  | AR-AFFF | 3%x3% | [7 empty] | Chemguard (Tyco/Johnson Controls)
Chemguard 6% AFFF (C606-MS) | Modern | Fluorotelomer | AFFF | 6% | Yes | 2015-12-14 |  |  |  |  | Military/Aviation | Chemguard (Tyco/Johnson Controls)
CHEMGUARD 6% AFFF P/NC-601MS | Legacy | Fluorotelomer | AFFF | 6% | Yes | 2002-04-24 |  |  |  | Approved until at least 10/24/2014 | Military/Aviation | Chemguard |  | Not provided | from Navy-memo 10/24/2014
CHEMGUARD AR 3%-6% AFFF Alcohol Resistant |  |  | AR-AFFF | 3%x6% | [7 empty] | Angus
CHEMGUARD AR 3%-6% AFFF Alcohol Resistant |  |  | AR-AFFF | 3%x6% | [7 empty] | Chemguard (Tyco/Johnson Controls)
CHEMGUARD AR 3%-6% AFFF Alcohol Resistant |  |  | AR-AFFF | 3%x6% | [7 empty] | National Foam
Chemguard AR 3%-6% AFFF Alcohol Resistant (C361) |  |  | AR-AFFF | 3%x6% | [7 empty] | Chemguard (Tyco/Johnson Controls)
Chemguard AR 3%-6% AFFF Alcohol Resistant (C363) |  |  | AR-AFFF | 3%x6% | [7 empty] | Chemguard (Tyco/Johnson Controls)
CHEMGUARD C306-MS 3% AFFF | Modern | Fluorotelomer | AFFF | 3% | Yes | 2015-12-14 |  |  |  |  | Military/Aviation | Tyco Fire Products LP Ansul Brands |  | Marinette, WI | from current QPL | https://qpldocs.dla.mil/search/parts.aspx?qpl=1910
CHEMGUARD C606-MS 6% AFFF | Modern | Fluorotelomer | AFFF | 6% | Yes | 2015-12-14 |  |  |  |  | Military/Aviation | Tyco Fire Products LP Ansul Brands |  | Marinette, WI | from current QPL | https://qpldocs.dla.mil/search/parts.aspx?qpl=1910
Chemguard Class A Plus+ Foam Concentrate (CA) | [11 empty] | Chemguard (Tyco/Johnson Controls)
Chemguard Ultraguard 1% x 3% AR-AFFF (C133) |  |  | AR-AFFF | 1%x3% | [7 empty] | Chemguard (Tyco/Johnson Controls)
Chemguard X-TRA High Expansion Foam (CXP) | [11 empty] | Chemguard (Tyco/Johnson Controls)
Cold Fire Foam Concentrate | [11 empty] | FireFreeze Worldwide
Crestar Class B AR-AFFF |  |  | AR-AFFF | [8 empty] | Crestar Fire Equipment
Direct Attack |  |  | Class A | 0.1-1% | No | [5 empty] | Civilian | Chemguard | 2022 | Marinette, WI | Contains non-intentionally added | 6:2 FTS and PFHxA
Expandol 1 - 6 High Expansion Foam | [11 empty] | Angus
F-500 |  |  | A and B | .25,.5,1%, B 6% | No | [5 empty] | Civilian | HCT, Hazard Control Technologies | 2022 | Fayetteville, GA | Does not appear to contain PFAS
FC-200 Light Water | Legacy | Electrochemical Fluorination (ECF) | AFFF | 6% | Yes | 1976-06-03 | 1977-03-11 |  |  |  | Military/Aviation | 3M |  | Not provided | from Navy-memo 10/24/2014 | http://www.dcfpnavymil.org/Systems/AFFF/QPL%2024385%20HISTORY%20-%20TYPE%206.pdf
FC-206 Light Water | Legacy | Electrochemical Fluorination (ECF) | AFFF | 6% | Yes | 1976-06-03 | 1978-01-16 |  |  |  | Military/Aviation | 3M |  | Not provided | from Navy-memo 10/24/2014 | http://www.dcfpnavymil.org/Systems/AFFF/QPL%2024385%20HISTORY%20-%20TYPE%206.pdf
FC-206C | Legacy | Electrochemical Fluorination (ECF) | AFFF | 6% | Yes | 1990-12-18 | 2002-04-24 | 1982-05-04 | 1990-02-20 |  | Military/Aviation | 3M |  | Not provided | from Navy-memo 10/24/2014 | http://www.dcfpnavymil.org/Systems/AFFF/QPL%2024385%20HISTORY%20-%20TYPE%206.pdf
FC-206CF | Legacy | Electrochemical Fluorination (ECF) | AFFF | 6% | Yes | 1991-08-22 | 2007-01-03 |  |  |  | Military/Aviation | 3M |  | Not provided | from Navy-memo 10/24/2014 | http://www.dcfpnavymil.org/Systems/AFFF/QPL%2024385%20HISTORY%20-%20TYPE%206.pdf
FC-780 | Legacy | Electrochemical Fluorination (ECF) | AFFF | 6% | Yes | 1978-01-16 | 1979-05-17 |  |  |  | Military/Aviation | 3M |  | Not provided | from Navy-memo 10/24/2014 | http://www.dcfpnavymil.org/Systems/AFFF/QPL%2024385%20HISTORY%20-%20TYPE%206.pdf
FC-780B | Legacy | Electrochemical Fluorination (ECF) | AFFF | 6% | Yes | 1979-05-17 | 1982-05-04 |  |  |  | Military/Aviation | 3M |  | Not provided | from Navy-memo 10/24/2014 | http://www.dcfpnavymil.org/Systems/AFFF/QPL%2024385%20HISTORY%20-%20TYPE%206.pdf
FireAde 2000 |  |  | AFFF | 3% | No | [5 empty] | Civilian | Fire Service Plus | 2012 | Fayetteville, GA | Also listed as Wetting Agent | Contains 6:2 and 8:2FTS, contains 20,000 ppb total
FireAde 2000 AR-AFFF 3% x 3% |  |  | AR-AFFF | 3%x3% | [7 empty] | FireService Plus
FireAde MIL-SPEC 3 3% |  |  |  | 3% | [5 empty] | Approved until at least 10/24/2014 | Military/Aviation | FireService Plus
FIREAIDE 2000-MIL6 AFFF | Legacy | Fluorotelomer | AFFF | 6% | Yes | 2011-05-04 |  | 2010-11-02 |  | Approved until at least 10/24/2014 | Military/Aviation | Fire Service Plus, Inc |  | Fayetteville, GA | from Navy-memo 12/15/2015 | https://www.secnav.navy.mil/foia/readingroom/HotTopics/Aqueous%20Film%20Forming%20Foam%20(AFFF)/CNIC-CNRH/New%20C6%20AFFF.pdf
Firebull F3 |  | Fluorine Free Foam (F3/FFF) | SFFF | 1, 3, or 6% | No |  |  |  |  | Wet Agent | Civilian | EnforcerOne LLC | 2021 | Peachtree City, GA | TOP Assay found PFBA, PFPeA, | PFHxA and 6:2 FTS
FireCool AFFF |  |  | AFFF | [8 empty] | Royal Chemical Fire
Firepower Class A Foam | [11 empty] | Angus
First Strike 1% x 3% AR-AFFF |  |  | AR-AFFF | 1%x3% | [7 empty] | US Foam Technologies
First Strike 3% AFFF |  |  | AFFF | 3% | [7 empty] | US Foam Technologies
FOMTEC AFFF 3%M "SWE" | Modern | Fluorotelomer | AFFF | 3% | Yes | 2017-02-01 |  |  |  |  | Military/Aviation | Dafo Fomtec AB |  | Stockholm, Sweden | from current QPL | https://qpldocs.dla.mil/search/parts.aspx?qpl=1910
FOMTEC AFFF 3%M "USA" | Modern | Fluorotelomer | AFFF | 3% | Yes | 2017-02-01 |  |  |  |  | Military/Aviation | Dafo Fomtec AB |  | Stockholm, Sweden | from current QPL | https://qpldocs.dla.mil/search/parts.aspx?qpl=1910
Hazard Control Technologies F-500 | [11 empty] | Hazard Control Technologies (HCT)
Hi-Combat 3% x 6% AR-FFFP |  |  | AR-FFFP | 3%x6% | [7 empty] | Angus
Hi-Ex 1/3% High Expansion Foam |  |  |  | 1%x3% | [7 empty] | Angus
Hi-Ex 1/3% High Expansion Foam |  |  |  | 1%x3% | [7 empty] | Delta-Omega Technologies
Hi-Ex 1/3% High Expansion Foam |  |  |  | 1%x3% | [7 empty] | National Foam
JET-X 2 3/4% Salt and Fresh Water High-Expansion Foam Concentrate | [11 empty] | Angus
JET-X 2 3/4% Salt and Fresh Water High-Expansion Foam Concentrate | [11 empty] | Ansul/Tyco/Johnson Controls
Knockdown Class A Foam Concentrate NFC699 |  |  | Class A | 0.1-1% | No | [5 empty] | Civilian | National Foam | 2018 | West Chester, PA
Light Water Alcohol Type Concentrate 3% AFFF / 6% ATC |  |  | AR-AFFF | 3%x6% | [7 empty] | 3M
Light Water Aqueous Film Forming Foam 3% Concentrate |  |  | AFFF | 3% | [7 empty] | 3M
Light Water ATC Plus 3% or 6% Freeze-Protected |  |  |  | 3%x6% | [7 empty] | 3M
Light Water FC-200 | [11 empty] | 3M
Light Water FC-203CF | [11 empty] | 3M
Light Water FC-206CE 6% AFFF |  |  | AFFF | 6% | [7 empty] | 3M
Light Water FC-780 | [11 empty] | 3M
Light Water FC-787F 3%/6% Alcohol Resistant AFFF |  |  | AR-AFFF | 3%x6% | [7 empty] | 3M
Micro-Blaze Out Plus |  |  | AR-AFFF | 3%x3% | No | [5 empty] | Civilian | Verde Environmental | 2019 | Houston, TX | made by Buckeye Fire Equip | Kings Mountain, NC
MSA AR 3% or 6% Alcohol Resistant AFFF |  |  | AR-AFFF | [8 empty] | Mine Safety Appliances (MSA)
MSA Polar Compound 3% or 6% AFFF |  |  | AFFF | 3%x6% | [7 empty] | Mine Safety Appliances (MSA)
MSA Ultrafoam Concentrate Class AB | [11 empty] | Mine Safety Appliances (MSA)
National Foam High Expansion 1 1/2% | [11 empty] | National Foam
NF Training Foam AFFF Simulation Foam NFC710 |  | Training (Fluorine Free) | Training | 3% or 6% | [5 empty] | Training foam to simulate AFFF |  | National Foam
PHOS-CHEK 3% AFFF MS | Modern | Fluorotelomer | AFFF | 3% | Yes | 2015-11-09 |  |  |  |  | Military/Aviation | Perimeter Solutions LP |  | Saint Louis, MO | from current QPL | https://qpldocs.dla.mil/search/parts.aspx?qpl=1910
PHOS-CHEK 6% AFFF MS | Modern | Fluorotelomer | AFFF | 6% | Yes | 2017-12-19 |  |  |  |  | Military/Aviation | Perimeter Solutions LP |  | Saint Louis, MO | from current QPL | https://qpldocs.dla.mil/search/parts.aspx?qpl=1910
PHOS-CHEK WD881 | [11 empty] | Perimeter Solutions / ICL / Astaris
Pioneer Products 3-6% AFFF Fire Fighting Foam |  |  | AFFF | 3%x6% | [7 empty] | Pioneer Chemicals
PLATINUM PLUS C6 3% MS-AFFF | Modern | Fluorotelomer | AFFF | 3% | Yes | 2020-04-30 |  |  |  |  | Military/Aviation | Buckeye Fire Equipment Company |  | Kings Mountain, NC | from current QPL | https://qpldocs.dla.mil/search/parts.aspx?qpl=1910
PLATINUM PLUS C6 6% MS-AFFF | Modern | Fluorotelomer | AFFF | 6% | Yes | 2020-04-30 |  |  |  |  | Military/Aviation | Buckeye Fire Equipment Company |  | Kings Mountain, NC | from current QPL | https://qpldocs.dla.mil/search/parts.aspx?qpl=1910
Silv-ex Plus |  |  | Class A | 0.1-1% | No | [5 empty] | Civilian | Ansul | 2022 | Marinette, WI | Contains non-intentionally added | 6:2 FTS and PFHxA
Silv-ex PLUS Class A Fire Control Concentrate |  |  |  | 1%x3% | [7 empty] | Ansul/Tyco/Johnson Controls
Thunderstorm ATC AR/AFFF 1%x3% (F601A) |  |  | AR-AFFF | 1%x3% | [7 empty] | Ansul/Williams/Tyco/Johnson Controls
Thunderstorm ATC AR-AFFF 1% or 3% (F601B) |  |  | AR-AFFF | 1%x3% | [7 empty] | Ansul/Williams/Tyco/Johnson Controls
Thunderstorm 1×3 AR-AFFF (W813A) |  |  | AR-AFFF | 1%x3% | [7 empty] | Ansul/Williams/Tyco/Johnson Controls
Thunderstorm 3% AR-AFFF (F-603B) |  |  | AR-AFFF | 3% | [7 empty] | Ansul/Williams/Tyco/Johnson Controls
Thunderstorm 3% x 3% AR-AFFF (F603A) |  |  | AR-AFFF | 3%x3% | [7 empty] | Ansul/Williams/Tyco/Johnson Controls
Thunderstorm 3% x 6% AR-AFFF (F600A) |  |  | AR-AFFF | 3%x6% | [7 empty] | Ansul/Williams/Tyco/Johnson Controls
Thunderstorm 3% x 6% AR-AFFF (F787A) |  |  | AR-AFFF | 3%x6% | [7 empty] | Ansul/Williams/Tyco/Johnson Controls
THUNDERSTORM® W813A 1×3 AR-AFFF |  |  | AR-AFFF | 1%x3% | [7 empty] | Ansul
THUNDERSTORM® W813A 1×3 AR-AFFF |  |  | AR-AFFF | 1%x3% | [7 empty] | Tyco/Johnson Controls
Trainol 3% Training Foam |  | Training (Fluorine Free) | Training | 3% | [5 empty] | Training foam to simulate Angus TridolC6 S3 AFFF |  | Buckeye Fire Equipment Company
Tridex 3% x 3% AR-AFFF |  |  | AR-AFFF | 3%x3% | [7 empty] | Angus
Tridol "S" Aqueous Film Forming Foam Concentrate 3% |  |  | AFFF | 3% | [7 empty] | Angus
Tridol ATF 3% AR-AFFF |  |  | AR-AFFF | 3% | [7 empty] | Angus
Tridol LT 3% x 6% AR-AFFF |  |  | AR-AFFF | 3%x6% | [7 empty] | Angus
Tridol M 6% AFFF Concentrate |  |  | AFFF | 6% | [7 empty] | Angus
Tridol S 3% AFFF Concentrate |  |  | AFFF | 3% | [7 empty] | Ansul/Williams/Tyco/Johnson Controls
T-storm 1%×3% AR-AFFF Concentrate (WTS301A) |  |  | AR-AFFF | 1%x3% | [7 empty] | Ansul/Williams/Tyco/Johnson Controls
T-storm 1%×3% AR-AFFF Concentrate (WTS301A) |  |  | AR-AFFF | 1%x3% | [7 empty] | Tyco/Johnson Controls
T-storm 1x3 AR-AFFF Concentrate (F701A) |  |  | AR-AFFF | 1%x3% | [7 empty] | Tyco/Johnson Controls
T-Storm 1x3 AR-AFFF Concentrate (F701B) |  |  | AR-AFFF | 1%x3% | [7 empty] | Ansul/Williams/Tyco/Johnson Controls
T-storm 3% - 6% AR-AFFF |  |  | AR-AFFF | 3%x6% | [7 empty] | Ansul
T-storm 3% - 6% AR-AFFF |  |  | AR-AFFF | 3%x6% | [7 empty] | Ansul/Williams/Tyco/Johnson Controls
T-storm 3% - 6% AR-AFFF |  |  | AR-AFFF | 3%x6% | [7 empty] | Tyco/Johnson Controls
T-storm 3% × 3% AR-AFFF Concentrate (703A) |  |  | AR-AFFF | 3%x3% | [7 empty] | Ansul/Williams/Tyco/Johnson Controls
T-storm 3% × 3% AR-AFFF Concentrate (703LV) |  |  | AR-AFFF | 3%x3% | [7 empty] | Ansul/Williams/Tyco/Johnson Controls
T-storm 3% × 3% AR-AFFF Concentrate (703LV) |  |  | AR-AFFF | 3%x3% | [7 empty] | Tyco/Johnson Controls
T-storm 3% × 6% AR-AFFF Concentrate (F787B) |  |  | AR-AFFF | 3%x6% | [7 empty] | Ansul/Williams/Tyco/Johnson Controls
T-storm 3% × 6% AR-AFFF Concentrate (F787B) |  |  | AR-AFFF | 3%x6% | [7 empty] | Tyco/Johnson Controls
T-Storm 3% or 6% ATC AR-AFFF | Modern |  | AR-AFFF | 3%x6% | No | [5 empty] | Civilian | Williams Fire and Hazard Control | 2010 | Vidor, TX
T-Storm 3%/6% AR-AFFF |  |  | AR-AFFF | 3%x6% | [7 empty] | Ansul/Williams/Tyco/Johnson Controls
T-storm 3x6 AR-AFFF Concentrate (WTS306B) |  |  | AR-AFFF | 3%x6% | [7 empty] | Ansul/Williams/Tyco/Johnson Controls
T-storm 3x6 AR-AFFF Concentrate (WTS306B) |  |  | AR-AFFF | 3%x6% | [7 empty] | Tyco/Johnson Controls
T-storm SFFF Class A Foam Concentrate |  | Fluorine Free Foam (F3/FFF) | SFFF | [8 empty] | Ansul/Williams/Tyco/Johnson Controls
UHX Ultra High eXpansion Synthetic Wet Water Foam Liquid Style No 999 | [11 empty] | Akron Brass/Akron Foam
Universal 3 or 6% |  |  |  | 3%x6% | [7 empty] | 1st Defense Red Alert
Universal 3 or 6% |  |  |  | 3%x6% | [7 empty] | 3M
Universal 3 or 6% |  |  |  | 3%x6% | [7 empty] | Angus
Universal 3 or 6% |  |  |  | 3%x6% | [7 empty] | Ansul
Universal 3 or 6% |  |  |  | 3%x6% | [7 empty] | Chemguard (Tyco/Johnson Controls)
Universal 3 or 6% |  |  |  | 3%x6% | [7 empty] | CHUBB/National Foam
Universal 3 or 6% |  |  |  | 3%x6% | [7 empty] | CHUBB/National Foam
Universal 3 or 6% |  |  |  | 3%x6% | [7 empty] | National Foam
Universal 3 or 6% |  |  |  | 3%x6% | [7 empty] | Pioneer Chemicals
Universal 3 or 6% |  |  |  | 3%x6% | [7 empty] | Royal Chemical Fire
Universal 3 or 6% |  |  |  | 3%x6% | [7 empty] | Akron Brass/ Akron Foam
Universal 3 or 6% |  |  |  | 3%x6% | [7 empty] | Tyco/Johnson Controls
Universal Gold 1% x 3% |  |  |  | 1%x3% | [7 empty] | National Foam
Universal Gold 3% AR-AFFF |  |  | AR-AFFF | 3% | [7 empty] | 1st Defense Red Alert
Universal Gold 3% AR-AFFF |  |  | AR-AFFF | 3% | [7 empty] | National Foam
Universal Gold®C6 1%/3% AR-AFFF |  |  | AR-AFFF | 1%x3% | [7 empty] | National Foam
Universal Plus 3% x 6% AR-AFFF |  |  | AR-AFFF | 3%x6% | [7 empty] | National Foam
Universal Plus 3%/6% |  |  | AFFF | 3%x6% | [7 empty] | 1st Defense Red Alert
Universal Plus 3%/6% |  |  | AFFF | 3%x6% | [7 empty] | CHUBB/National Foam
Universal Plus 3%/6% |  |  | AFFF | 3%x6% | [7 empty] | National Foam
Universal Plus, 3/6%, Alcohol Resistant |  |  | AR-AFFF | 3%x6% | No | [5 empty] | Civilian | National Foam | 2001 | Exton, PA
US Foam 3% x 6% AFFF |  |  | AFFF | 3%x6% | [7 empty] | National Foam
VIKING AFFF 3%M C6 "SWE" | Modern | Fluorotelomer | AFFF | 3% | Yes | 2020-01-21 |  |  |  |  | Military/Aviation | The Viking Corporation |  | Hastings, MI | from current QPL | https://qpldocs.dla.mil/search/parts.aspx?qpl=1910
VIKING AFFF 3%M C6 "USA" | Modern | Fluorotelomer | AFFF | 3% | Yes | 2020-01-21 |  |  |  |  | Military/Aviation | The Viking Corporation |  | Hastings, MI | from current QPL | https://qpldocs.dla.mil/search/parts.aspx?qpl=1910
Vulcan 3% x 6% AR-AFFF |  |  | AR-AFFF | 3%x6% | [7 empty] | Delta-Omega
Vulcan Platinum 1%x3% AR-AFFF |  |  | AR-AFFF | 1%x3% | [7 empty] | Delta-Omega

## 2025- F3- New
Table 3-1. F3 Characteristics Summary Table
April 2025
ITRC DRAFT Material - Do not cite or quote
Sources:
FOR IC2 RECORDS- The information in this spreadsheet is up to date as of August 2018. https://www.theic2.org/wp-content/uploads/2022/09/Per_and_Polyfluorinated_Substances_in_Firefighting_Foam_040919.pdf
FOR GREENSCREEN RECORDS- The information is from https://www.greenscreenchemicals.org/certified/fff-standard
FOR QPL RECORDS: QPL database of qualified F3 foams per MilSpec 32725
Product Name | Manufacturer / Company Name | Country | Classification FF = fluorine free, Hi-Ex = high expansion, T = training foam, LT = low temp (aka "freeze free" or "freeze protected"), AR = alcohol resistant | Company / Product Website | Performance Specifications met (according to manufacturer) | Certification | Certification Expiration | Source
FREEDOL SF | 3F Company | United Kingdom | FF | http://www.3fff.co.uk/index.php/en/chemistry-3f-foams-extinguishers-specialities/smart-foams-industryprotection-3f-england-singapore-morocco-2 | EN1568-1 & 2: Pass EN1568-3: Class IIIC EN1568-4: Class IC ICAO Level B |  |  | IC2 (2018)
FREEDOL SF | 3F Company | United Kingdom | FF |  |  |  |  | IC2 (2018)
FREEFOR SF 1 | 3F Company | United Kingdom | FF | http://www.3fff.co.uk/images/Documentation/Chimie/FREEFOR_SF_FT_UK.pdf | EN 1568-1 & 2: Pass EN 1568-3: Class IIIC |  |  | IC2 (2018)
HYFEX SF 1 | 3F Company | United Kingdom | FF, Hi-Ex | http://www.3fff.co.uk/images/Documentation/Chimie/HYFEX_SF_FT_UK.pdf | EN 1568-1 & 2: Pass EN 1568-3: Class IIIC ISO 7203-1, 2 Marine: BV |  |  | IC2 (2018)
T-FOAM SF 3 | 3F Company | United Kingdom | FF, T | http://www.3fff.co.uk/images/Documentation/Chimie/TFOAM_SF_FT_UK.pdf | none |  |  | IC2 (2018)
T-FOAM SF 6 | 3F Company | United Kingdom | FF, T | http://www.3fff.co.uk/images/Documentation/Chimie/TFOAM_SF_FT_UK.pdf | none |  |  | IC2 (2018)
Aberdeen Foam 1% F3 | Aberdeen Foam (Oil Technics Fire Fighting Products) | Scotland, UK | FF | http://www.firefightingfoam.com/fire-fighting-foam/aberdeen-fire-fighting-foam/fluorine-free-foams-f3/ | EN 1568: 2008 Part 3 |  |  | IC2 (2018)
Aberdeen Foam 1% F3-LF | Aberdeen Foam (Oil Technics Fire Fighting Products) | Scotland, UK | FF, LT | http://www.firefightingfoam.com/fire-fighting-foam/aberdeen-fire-fighting-foam/afff-foam-concentrates/aberdeen-foam-1-afff-lf-c6/ | UL 162 EN 1568:2008 Part 3 (Grade 1B in both potable water and seawater) ICAO Level B IMO MSC.1/Circ 1312 NATO Stock Number NSN 4210-99-597-0220 |  |  | IC2 (2018)
Aberdeen Foam 3% F3 | Aberdeen Foam (Oil Technics Fire Fighting Products) | Scotland, UK | FF | http://www.firefightingfoam.com/fire-fighting-foam/aberdeen-fire-fighting-foam/fluorine-free-foams-f3/ | EN 1568: 2008 Part 3 |  |  | IC2 (2018)
Aberdeen Foam 3% F3-LF | Aberdeen Foam (Oil Technics Fire Fighting Products) | Scotland, UK | FF, LT | http://www.firefightingfoam.com/fire-fighting-foam/aberdeen-fire-fighting-foam/fluorine-free-foams-f3/aberdeen-foam-3-f3-lf/ | EN 1568:2008 Part 3 |  |  | IC2 (2018)
Aberdeen Foam 6% F3 | Aberdeen Foam (Oil Technics Fire Fighting Products) | Scotland, UK | FF | http://www.firefightingfoam.com/fire-fighting-foam/aberdeen-fire-fighting-foam/fluorine-free-foams-f3/aberdeen-foam-6-f3/ | EN 1568: 2008 Part 3 |  |  | IC2 (2018)
Aberdeen Foam 2% HI-EX | Aberdeen Foam (Oil Technics Fire Fighting Products) | Scotland, UK | FF, Hi-Ex | http://www.firefightingfoam.com/fire-fighting-foam/products-a-z/ | EN 1568: 2008 Part 2 - potable (fresh) water and seawater IMO MSC.1/Circ 1312 |  |  | IC2 (2018)
Aberdeen Foam 3x3% AR-F3 | Aberdeen Foam (Oil Technics Fire Fighting Products) | Scotland, UK | FF, AR | http://www.firefightingfoam.com/fire-fighting-foam/aberdeen-fire-fighting-foam/fluorine-free-foams-f3/ | EN 1568: 2008 Part 3 - Class 1A in fresh water EN 1568: 2008 Part 4 - Class 1A in fresh water |  |  | IC2 (2018)
Aberdeen Foam 3x6% AR-F3 | Aberdeen Foam (Oil Technics Fire Fighting Products) | Scotland, UK | FF, AR | http://www.firefightingfoam.com/fire-fighting-foam/aberdeen-fire-fighting-foam/fluorine-free-foams-f3/ | EN 1568: 2008 Part 3 EN 1568: 2008 Part 4 |  |  | IC2 (2018)
Aberdeen Foam 1x3% F3 | Aberdeen Foam (Oil Technics Fire Fighting Products) | Scotland, UK | FF, AR | http://www.firefightingfoam.com/fire-fighting-foam/aberdeen-fire-fighting-foam/fluorine-free-foams-f3/aberdeen-foam-6-f3-2/ | EN 1568: 2008 Part 3 - Class 1B in fresh water EN 1568: 2008 Part 4 - Class 1B in fresh water |  |  | IC2 (2018)
Aberdeen Foam 1% Training Foam (synthetic) | Aberdeen Foam (Oil Technics Fire Fighting Products) | Scotland, UK | FF, T | http://www.firefightingfoam.com/fire-fighting-foam/aberdeen-fire-fighting-foam/training-and-mimic-foams/aberdeen-foam-1-training-foam-synthetic/ | none |  |  | IC2 (2018)
Aberdeen Foam 3% Training Foam (synthetic) | Aberdeen Foam (Oil Technics Fire Fighting Products) | Scotland, UK | FF, T | http://www.firefightingfoam.com/fire-fighting-foam/aberdeen-fire-fighting-foam/training-and-mimic-foams/aberdeen-foam-3-training-foam-synthetic/ | none |  |  | IC2 (2018)
Expandol (aka Expandol 1-3) | Angus Fire (Angus International: Angus Fire, National Foam and Eau et Feu.) | United Kingdom | FF, Hi-Ex | http://angusfire.co.uk/products/foam-concentrates/product-range/high-expansion/hi-ex/ | Lloyds Register NFPA 11A EN1568:2008 Parts 1 & 2 |  |  | IC2 (2018)
Expandol LT (aka Expanol 1-3LT) | Angus Fire (Angus International: Angus Fire, National Foam and Eau et Feu.) | United Kingdom | FF, Hi-Ex, LT | http://angusfire.co.uk/products/foam-concentrates/product-range/high-expansion/hi-ex/ | Lloyds Register NFPA 11A |  |  | IC2 (2018)
Syndura (6% fluorine free foam) | Angus Fire (Angus International: Angus Fire, National Foam and Eau et Feu.) | United Kingdom | FF | http://angusfire.co.uk/products/foam-concentrates/product-range/ff/syndura/ | UL 162 (7th Edition) - use on hydrocarbon fires through portable and fixed foammaking equipment ICAO Level A UK Ministry of Defence Standard 42-42 EN 1568-3 : 2000 |  |  | IC2 (2018)
TF3/TF6 (3%/6% Training Foam Concentrate | Angus Fire | United Kingdom | FF, T | http://www.firefightingfoam.com/fire-fighting-foam/angus-fire/training-foams/tf3/ | none |  |  | IC2 (2018)
Trainol (3% Fluorine Free Training Foam Concentrate) | Angus Fire | United Kingdom | FF, T | http://www.firefightingfoam.com/fire-fighting-foam/angus-fire/training-foams/tf3-2/ | none |  |  | IC2 (2018)
HiCombat A | Angus Fire (Angus International: Angus Fire, National Foam and Eau et Feu.) | United Kingdom | FF | http://angusfire.com/foam-concentrates/class-a/hi-combat-a/ | USDA 5100-307A Underwriters Laboratories, Inc. (UL listed as a Wetting Agent at 0.3% for Class A and Class B) NFPA 18 NFPA 298 NFPA 1145 (Structure Attack) NFPA 1150 |  |  | IC2 (2018)
Jetfoam 1% | Angus Fire (Angus International: Angus Fire, National Foam and Eau et Feu.) | United Kingdom | FF | http://angusfire.co.uk/products/foam-concentrates/product-range/ff/jetfoam/ | EN1568:2008 part 3 ICAO 2013 Level B |  |  | IC2 (2018)
Jetfoam 3% | Angus Fire (Angus International: Angus Fire, National Foam and Eau et Feu.) | United Kingdom | FF | http://angusfire.co.uk/products/foam-concentrates/product-range/ff/jetfoam/ | EN1568:2008 part 3 ICAO 2013 Level B |  |  | IC2 (2018)
Jetfoam 6% | Angus Fire (Angus International: Angus Fire, National Foam and Eau et Feu.) | United Kingdom | FF | http://angusfire.co.uk/products/foam-concentrates/product-range/ff/jetfoam/ | EN1568:2008 part 3 ICAO 2013 Level B |  |  | IC2 (2018)
Respondol ATF 3-3% | Angus Fire (Angus International: Angus Fire, National Foam and Eau et Feu.) | United Kingdom | FF | http://angusfire.com/foam-concentrates/ff-fluorine-free-foam/respondol-atf/ | Underwriters Laboratories, Inc. Underwriters Laboratories of Canada. EN1568 part 3 and 4 on all fuels and all water types |  |  | IC2 (2018)
Respondol ATF 3-6% | Angus Fire (Angus International: Angus Fire, National Foam and Eau et Feu.) | United Kingdom | FF | http://angusfire.com/foam-concentrates/ff-fluorine-free-foam/respondol-atf/ | EN1568 part 3 and 4 on all fuels and all water types |  |  | IC2 (2018)
Phos-Chek 1% Fluorine Free | Auxquimia (ICL Performance Products)(Phos-Chek Fire Retardant) | Spain | FF | https://phoschek.com/product/phos-chek-1-fluorine-free-industrial/ | UL162 |  |  | IC2 (2018)
Phos-Chek 3×6 Fluorine Free (aka UNIPOL-FF 3/6) | Auxquimia (ICL Performance Products)(Phos-Chek Fire Retardant) | Spain | FF, AR | https://phoschek.com/product/phos-chek-3x6-fluorine-free-industrial-military/ | UL162 |  |  | IC2 (2018)
Phos-Chek Training Foam 136 | Auxquimia (ICL Performance Products)(Phos-Chek Fire Retardant) | Spain | FF, T | https://phoschek.com/product/phos-chek-training-foam-136-industrial/ | EN-1568-1 for medium expansion foams EN-1568-3 for low expansion foams (class IIID) |  |  | IC2 (2018)
Phos-Chek Training Foam EE-3 | Auxquimia (ICL Performance Products)(Phos-Chek Fire Retardant) | Spain | FF, T | https://phoschek.com/product/phos-chek-training-foam-ee-3-industrial/ | none |  |  | IC2 (2018)
H-930 synthetic multiexpansion foam concentrates | Auxquimia (ICL Performance Products)(Phos-Chek Fire Retardant) | Spain | FF | http://auxquimia.com/synthetic-multiexpansion-foam-concentrates/ | EN-1568-1 and EN-1568-3 with fresh and sea water (class IIIC) |  |  | IC2 (2018)
SF-60L synthetic multiexpansion foam concentrates: | Auxquimia (ICL Performance Products)(Phos-Chek Fire Retardant) | Spain | FF | http://auxquimia.com/synthetic-multiexpansion-foam-concentrates/ |  |  |  | IC2 (2018)
BIO FOAM 5 | Bio-ex | France | FF | http://www.bio-ex.com/products/product/bio-foam-multi-expansion-fluorine-free-synthetic-foam-concentrate-effective-on-hydrocarbon-fires-7 | EN 1568-2 Navy: Bureau Veritas certificate |  |  | IC2 (2018)
BIO T3 (1-3%) | Bio-ex | France | FF, T |  | none |  |  | IC2 (2018)
BIO FOAM 15 | Bio-ex | France | FF, LT | http://www.bio-ex.com/products/product/bio-foam-multi-expansion-fluorine-free-synthetic-foam-concentrate-effective-on-hydrocarbon-fires-7 | EN 1568-2 Marine: Veritas |  |  | IC2 (2018)
ECOPOL - Multi-risk, fluorine free ecological foam concentrate effective on all types of fire - High Expansion foam | Bio-ex | France | FF, Hi-Ex | http://www.bio-ex.com/products/other-products/product/ecopol-multi-risk-fluorine-free-ecological-foam-concentrate-effective-on-all-types-of-fire-high-expansion-foam-6 | European standards: EN 1568 1-2-3-4. Oil industry: GESIP - LASTFIRE. Marine: VERITAS. High expansion: APSAD R12. Aviation: ICAO level B. Class A: CEREN Certificate, Draves test AATCC 17-2005. |  |  | IC2 (2018)
ECOPOL F3 HC - Fluorine free ecological foam concentrate Specially for Hydrocarbon Risk | Bio-ex | France | FF | http://www.bio-ex.com/products/types-of-risk/class-b-liquid-fires-hydrocarbons/product/ecopol-f3-hc-fluorine-free-ecological-foam-concentrate-specially-for-hydrocarbon-risk-19 | European standards 1A fresh water & 1A sea water : EN 1568-3 Marine: VERITAS |  |  | IC2 (2018)
ECOPOL PREMIUM - Polyvalent multi-risk fluorine-free foam concentrate | Bio-ex | France | FF, AR | http://www.bio-ex.com/products/types-of-risk/class-b-liquid-fires-hydrocarbons/product/ecopol-premium-polyvalent-multi-risk-fluorine-free-foam-concentrate-20 | European standards: EN 1568 - 1 : Conform EN 1568 - 2 : Conform EN 1568 - 3 : 1A / 1A EN 1568 - 4 : 1A / 1A Oil industry: LASTFIRE Forest fire standards: CEREN Certificate Certification in progress : UL 162 / GESIP |  |  | IC2 (2018)
ECOPOL A 3% / 6% | Bio-ex | France | FF |  | ICAO Level B (at 3% & 6%) |  |  | IC2 (2018)
Buckeye High Expansion Foam (BFC-HX) (aka Hi-Ex 2.2) | Buckeye Fire Equipment Company | US (North Carolina) | FF | http://www.buckeyefire.com/foam-equipment-concentrates/ | Buckeye Quality Assurance |  |  | IC2 (2018)
Enviro 3% ICAO | Dafo Fomtec AB | Sweden | FF | http://www.fomtec.com/fluorine-free/enviro-3-icao-article1106-38.html | ICAO Level B |  |  | IC2 (2018)
Enviro 3x3 Plus | Dafo Fomtec AB | Sweden | FF, AR | http://www.fomtec.com/fluorine-free/enviro-3x3-plus-article1006-38.html | EN 1568, part 1, 3 and 4 |  |  | IC2 (2018)
Enviro 3x3 Ultra | Dafo Fomtec AB | Sweden | FF, AR | http://www.fomtec.com/fluorine-free/enviro-3x3-ultra-article1004-38.html | EN 1568, part 3 and 4 |  |  | IC2 (2018)
Enviro 3x6 Plus | Dafo Fomtec AB | Sweden | FF, AR | http://www.fomtec.com/fluorine-free/enviro-3x6-plus-article1005-38.html | EN 1568, part 1, 3 and 4 |  |  | IC2 (2018)
Environ 6x6 Plus | Dafo Fomtec AB | Sweden | FF, AR | http://www.fomtec.com/fluorine-free/enviro-6x6-plus-article1011-38.html | EN 1568, part 1, 3 and 4 |  |  | IC2 (2018)
Enviro USP | Dafo Fomtec AB | Sweden | FF | http://www.fomtec.com/fluorine-free/enviro-usp-article1119-38.html | UL 162, 7th Edition EN 1568 Part 1, 2, 3 Rate: 1A |  |  | IC2 (2018)
LS xMax | Dafo Fomtec AB | Sweden | FF | https://www.fomtec.com/synthetic-multi-purpose/ls-xmax-article1103-37.html | EN 1568 part 1, part 2 and part 3 |  |  | IC2 (2018)
LS aMax | Dafo Fomtec AB | Sweden | FF | https://www.fomtec.com/synthetic-multi-purpose/ls-amax-article1102-37.html | EN 1568 part 1, part 2, part 3 and part 4 ICAO, performance Level B |  |  | IC2 (2018)
MB -20 | Dafo Fomtec AB | Sweden | FF, LT | http://www.fomtec.com/ | EN 1568 Part 1, 2, 3 |  |  | IC2 (2018)
P 3% | Dafo Fomtec AB | Sweden | FF | https://www.fomtec.com/p-fp/p-3-article79-75.html | UK Ministry Of Defence, DEF 42/40. EN1568 part 3 IMO MSC.1 Circ 1312 MED Wheelmarked |  |  | IC2 (2018)
P 6% | Dafo Fomtec AB | Sweden | FF | https://www.fomtec.com/p-fp/p-6-article78-75.html | UK Ministry Of Defence, DEF 42/40 EN1568 part 3 IMO MSC.1 Circ 1312 MED Wheelmarked |  |  | IC2 (2018)
Trainer E-lite | Dafo Fomtec AB | Sweden | FF, T | https://www.fomtec.com/training-foam/trainer-e-lite-article726-361.html | none |  |  | IC2 (2018)
6% AFFF | Denko | US (New York) | FF | http://www.denkofoam.com | none |  |  | IC2 (2018)
3% AFFF | Denko | US (New York) | FF, LT | http://www.denkofoam.com | none |  |  | IC2 (2018)
1% AFFF | Denko | US (New York) | FF, LT | http://www.denkofoam.com/1afff.htm | none |  |  | IC2 (2018)
Alcohol AFFF 3% - 6% Single or Double Strength | Denko | US (New York) | FF, LT, AR | http://www.denkofoam.com/alcohol.htm | none |  |  | IC2 (2018)
High Expansion Foam, Class A or B | Denko | US (New York) | FF, Hi-Ex | http://www.denkofoam.com/highfoam.htm | none |  |  | IC2 (2018)
Fluorine Free Foam, 1%, 3% , 6% | Fire Safety Devices Pvt Ltd | US (New York) | FF | http://fcfsd.com/index.html | none |  |  | IC2 (2018)
FireAde Training | Fire Services Plus | Georgia, USA | FF, T | http://pro.fireade.com/products/fireade-training-foam/ | none |  |  | IC2 (2018)
FIRE CAP PLUS AR-AFFF 1% x 3% | Fire Suppression Products | Michigan, USA | FF, AR | https://www.firecapplus.com/ | is in the process of certification by UL for Class A and B fires |  |  | IC2 (2018)
FIRE CAP PLUS | Fire Suppression Products | Michigan, USA | FF | https://www.firecapplus.com/ | is in the process of certification by UL for Class A and B fires |  |  | IC2 (2018)
Coldfire | FireFreeze Worldwide, Inc | US (New Jersey) | FF | http://firefreeze.com/cold-fire/ | UL Classified, 2N75 |  |  | IC2 (2018)
Eco-Gel | FireRein | Canada | FF | https://www.firerein.com/eco-gel | none |  |  | IC2 (2018)
PyroBubbles | Genius Group | Germany | FF | https://www.genius-group.de/en/development/pyrobubbles-fire-retardant/ | DIN EN 3-7 |  |  | IC2 (2018)
F-500 | Hazard Control Technologies, Inc | US (Georgia) | FF | http://www.hct-world.com/ | UL 162 NFPA 18 MPA Dresden DIN EN 1568 DIN EN 3 |  |  | IC2 (2018)
Orchidex BlueFoam 1x3 | Orchidee Fire | Belgium | FF | http://www.orchidee-fire.com/foams/product-Orchidex-BlueFoam-1X3/ | •DIN EN 1568 Part 3 • Low Expansion Foam Heptane 1B •DIN EN 1568 Part 4 • Low Expansion Foam Acetone 1A • Isopropyl-Alcohol 2B• •DIN EN 1568 Part 1 • Medium Expansion Foam Heptane – Passed |  |  | IC2 (2018)
Orchidex BlueFoam 3x3 | Orchidee Fire | Belgium | FF | http://www.orchidee-fire.com/foams/product-Orchidex-BlueFoam-3x3/ | EN LASTFIRE ICAO |  |  | IC2 (2018)
Orchidex BlueFoam 3x6 | Orchidee Fire | Belgium | FF | http://www.orchidee-fire.com/foams/product-Orchidex-BlueFoam-3X6/ | •DIN EN 1568 Part 3 • Low Expansion Foam Heptane 3B •DIN EN 1568 Part 4 • Low Expansion Foam Acetone 1A • Isopropyl-Alcohol 2B• Ethanol 1A, Methanol 1A •DIN EN 1568 Part 1 • Medium Expansion Foam Heptane – Passed |  |  | IC2 (2018)
Orchidex BlueFoam 6x6 | Orchidee Fire | Belgium | FF | http://www.orchidee-fire.com/foams/product-Orchidex-BlueFoam-6X6/ | •DIN EN 1568 Part 3 • Low Expansion Foam Heptane 3B •DIN EN 1568 Part 4 • Low Expansion Foam Acetone 1A • Isopropyl-Alcohol 2B• Ethanol 1A, Methanol 1A •DIN EN 1568 Part 1 • Medium Expansion Foam Heptane – Passed |  |  | IC2 (2018)
Pyrocool FEF 0.4% Multiclass Foam Concentrate | Pyrocool Technologies | US (Virginia) | FF | http://www.pyrocooltech.com/pyrocool-fef/ | none listed, testing results here http://www.pyrocooltech.com/pdf/TDFull-rev1.pdf |  |  | IC2 (2018)
Novacool UEF Foam | R. Nickeson Enterprises | US (Massachusetts) | FF | http://novacoolfoam.com/ | ʺNovacool Foam passed all requirements for UL testing with flying colors and currently holds UL Certification NFPA 18, 2006 Edition Classification for A"B. |  |  | IC2 (2018)
FOAMOUSSE 3% F-15 #5301 | Sthamer | Germany | FF | https://sthamer.com/en/protein_foam_concentrate.php | DIN EN 1568-3 |  |  | IC2 (2018)
vaPUREx LV 1% F-10 #7141 | Sthamer | Germany | FF | https://sthamer.com/en/customer/download_data_sheets.php | DIN EN 1568 Certificate No.: KB 223/17 Part 3 (Heptane): IC/- Part 1: Medium ex. |  |  | IC2 (2018)
STHAMEX-SV/HT 1% F-5 #9142 | Sthamer | Germany | FF, LT | https://sthamer.com/en/customer/download_data_sheets.php | DIN EN 1568 |  |  | IC2 (2018)
MOUSSOL®–FF 3/6 F-15 #7941 | Sthamer | Germany | FF, AR | https://sthamer.com/en/alcohol-resistant_fluorine-free_foam_concentrate.php | EN 1568 part 1-4 ICAO level B Last Fire aspirated / systems: ”good“ |  |  | IC2 (2018)
MOUSSOL®–FF 3/6 F-5 #7942 | Sthamer | Germany | FF, AR | https://sthamer.com/en/alcohol-resistant_fluorine-free_foam_concentrate.php | EN 1568 part 1-4 ICAO level B Last Fire aspirated / systems: ”good“ |  |  | IC2 (2018)
TRAINING FOAM-N 1% F-0 #9141 | Sthamer | Germany | FF, T | https://sthamer.com/en/training_foam.php | none |  |  | IC2 (2018)
STHAMEX® 2% F6 Multi-purpose detergent foam | Sthamer | Germany | FF | https://sthamer.com/en/multi_purpose_detergent_foam.php | DIN EN 1568 parts 1, 2, 3 |  |  | IC2 (2018)
STHAMEX® K 1% F-15 #9143 | Sthamer | Germany | FF | https://sthamer.com/en/multi_purpose_detergent_foam.php | DIN EN 1568 parts 1, 2, 3 |  |  | IC2 (2018)
STHAMEX® 3% F6 Multi-purpose detergent foam | Sthamer | Germany | FF | http://sthamer.com/englisch/c23_sthamex.html. | DIN EN 1568 parts 1, 2, 3 |  |  | IC2 (2018)
RE-HEALING RF1, 1% FOAM CONCENTRATE | The Solberg Company (an Amerex Corporation company) | US (Wisconsin) | FF | http://www.solbergfoam.com/Technical-Documentation/Foam-Concentrate-Data-Sheets/ReHealing-Foam/CEN-EN-Concentrates/RE-HEALING-RF1-1-F-2012010-2.aspx | EN 1568 part 3 |  |  | IC2 (2018)
RE-HEALING RF1-AG, 1% FOAM CONCENTRATE | The Solberg Company (an Amerex Corporation company) | US (Wisconsin) | FF | http://www.solbergfoam.com/Technical-Documentation/Foam-Concentrate-Data-Sheets/ReHealing-Foam/CEN-EN-Concentrates/RE-HEALING-RF1-AG-1-F-2016003-1.aspx | EN 1568 part 3 |  |  | IC2 (2018)
RE-HEALING RF1-S, 1% FOAM CONCENTRATE | The Solberg Company (an Amerex Corporation company) | US (Wisconsin) | FF | http://www.solbergfoam.com/Technical-Documentation/Foam-Concentrate-Data-Sheets/ReHealing-Foam/CEN-EN-Concentrates/RE-HEALING-RF1-S-1-F-2016005.aspx | EN 1568 part 3 |  |  | IC2 (2018)
RE-HEALING RF3, 3% FOAM CONCENTRATE | The Solberg Company (an Amerex Corporation company) | US (Wisconsin) | FF | http://www.solbergfoam.com/Technical-Documentation/Foam-Concentrate-Data-Sheets/ReHealing-Foam/UL-Concentrates/RE-HEALING-RF3-3-F-2013005-5.aspx | UL 162 UL of Canada 5130 EN 1568 part 3 ICAO Levels B & C |  |  | IC2 (2018)
RE-HEALING RF3-LV, 3% LOW VISCOSITY FOAM CONCENTRATE | The Solberg Company (an Amerex Corporation company) | US (Wisconsin) | FF, low viscosity | http://www.solbergfoam.com/Technical-Documentation/Foam-Concentrate-Data-Sheets/ReHealing-Foam/CEN-EN-Concentrates/RE-HEALING-RF3-LV-3-Low-Viscosity-F-2014004-2.aspx | EN 1568 part 3 |  |  | IC2 (2018)
RE-HEALING RF3x3% FREEZE PROTECTED ATC FOAM CONCENTRATE | The Solberg Company (an Amerex Corporation company) | US (Wisconsin) | FF, LT | http://www.solbergfoam.com/Technical-Documentation/Foam-Concentrate-Data-Sheets/ReHealing-Foam/CEN-EN-Concentrates/RE-HEALING-RF3x3-FP-ATC-F-2014021.aspx | EN 1568 parts 3 & 4 IMO MSC.1/Circ.1314 (latest edition) |  |  | IC2 (2018)
RE-HEALING RF3x6% ATC FOAM CONCENTRATE | The Solberg Company (an Amerex Corporation company) | US (Wisconsin) | FF | http://www.solbergfoam.com/Technical-Documentation/Foam-Concentrate-Data-Sheets/ReHealing-Foam/CEN-EN-Concentrates/RE-HEALING-RF3x6-ATC-F-2013004-3.aspx | EN 1568 parts 3 & 4 ICAO Levels B & C |  |  | IC2 (2018)
RE-HEALING RF3x6% FREEZE PROTECTED ATC FOAM CONCENTRATE | The Solberg Company (an Amerex Corporation company) | US (Wisconsin) | FF, LT | http://www.solbergfoam.com/Technical-Documentation/Foam-Concentrate-Data-Sheets/ReHealing-Foam/CEN-EN-Concentrates/RE-HEALING-RF3x6-FP-ATC-F-2014020.aspx | EN 1568 parts 3 & 4 IMO MSC.1/Circ.1314 (latest edition) |  |  | IC2 (2018)
RE-HEALING RF6, 6% FOAM CONCENTRATE | The Solberg Company (an Amerex Corporation company) | US (Wisconsin) | FF | http://www.solbergfoam.com/Technical-Documentation/Foam-Concentrate-Data-Sheets/ReHealing-Foam/UL-Concentrates/RE-HEALING-RF6-6-F-2011007-4.aspx | UL 162 UL of Canada S564 |  |  | IC2 (2018)
RE-HEALING RF6, 6% FOAM CONCENTRATE | The Solberg Company (an Amerex Corporation company) | US (Wisconsin) | FF | http://www.solbergfoam.com/Technical-Documentation/Foam-Concentrate-Data-Sheets/ReHealing-Foam/ICAO-Concentrates/RE-HEALING-RF6-6-Foam-F-2017003.aspx | ICAO Level B |  |  | IC2 (2018)
RE-HEALING RF-MB FOAM CONCENTRATE | The Solberg Company (an Amerex Corporation company) | US (Wisconsin) | FF | http://www.solbergfoam.com/Technical-Documentation/Foam-Concentrate-Data-Sheets/ReHealing-Foam/CEN-EN-Concentrates/RE-HEALING-RF-MB-F-2013008.aspx | 1568 Part 3 |  |  | IC2 (2018)
RE-HEALING TF, TRAINING FOAM CONCENTRATE | The Solberg Company (an Amerex Corporation company) | US (Wisconsin) | FF, T | http://www.solbergfoam.com/Technical-Documentation/Foam-Concentrate-Data-Sheets/ReHealing-Foam/Training-Foam/RE-HEALING-TF-Training-Foam-F-2014005.aspx | none |  |  | IC2 (2018)
Micro-Blaze Out | Verde Environmental Inc (Micro Blaze) | US (Texas) | FF | http://www.micro-blaze.com/site/ | UL Classified under NFPA-18 for both Class A & Class B Fires as a wetting agent |  |  | IC2 (2018)
Silvara 1 (1%) | vs FOCUM | Spain | FF, low viscosity | http://www.vsfocum.com/index.php/en/productos-vsfocum/espumogenos/no-fluorado/item/31-silvara-1 | EN 1568 parts 1 & 3 Certification EN 1568:1. Certificate OACI.Certificado Certification. |  |  | IC2 (2018)
Silvara APC 3x3 | vs FOCUM | Spain | FF | http://www.vsfocum.com/index.php/en/productos-vsfocum/espumogenos/no-fluorado/item/60-apc-3x3 | EN 1568 parts 3 & 4 |  |  | IC2 (2018)
Silvara APC 3x6 | vs FOCUM | Spain | FF | http://www.vsfocum.com/index.php/en/productos-vsfocum/espumogenos/no-fluorado/item/56-apc | EN 1568 parts 1, 3, & 4 LASTFIRE |  |  | IC2 (2018)
Silvara ZFK (0.5%) | vs FOCUM | Spain | FF | http://www.vsfocum.com/index.php/en/productos-vsfocum/espumogenos/no-fluorado/item/58-silvara-zfk | none |  |  | IC2 (2018)
Silvara T3 | vs FOCUM | Spain | FF | vs FOCUM email; no web link |  |  |  | IC2 (2018)
Silvara APC 1 | vs FOCUM | Spain | FF, AR | vs FOCUM email; no web link |  |  |  | IC2 (2018)
Universal Green 3-3% | National Foam | US (Pennsylvania) | FF, AR | http://nationalfoam.com/foam-concentrates/ff-fluorine-free-foam/universal-green/ | EN 1568 parts 3 & 4 on all fuels & all water types |  |  | IC2 (2018)
Viking USP | Viking Corporation |  | Class B | This link will take you off the GreenScreen website ; Viking Corporation Product Pages |  | v2.2 #20221043 | 2026-07-31 | GreenScreen ( Feb 2024)
Viking ARK | Viking Corporation |  | Class B | This link will take you off the GreenScreen website ; Viking Corporation Product Pages |  | v2.2 #20221046 | 2026-07-31 | GreenScreen ( Feb 2024)
UniversalF3 Green 3x3 | National Foam, Inc |  | Class B | This link will take you off the GreenScreen website ; National Foam Fluorine Free Foams |  | v2.2(1e) #20211135 | 2026-07-31 | GreenScreen ( Feb 2024)
THUNDERSTORM® WNF33A | Williams Fire & Hazard Control |  | Class B | This link will take you off the GreenScreen website ; THUNDERSTORM® WNF33A Product Page |  | v2.1 #20221023 | 2026-07-31 | GreenScreen ( Feb 2024)
T-STORM® NFF 3x3 UL 201 | Williams Fire & Hazard Control |  | Class B | This link will take you off the GreenScreen website ; T-STORM® NFF 3x3 UL 201 Product Page |  | v2.1 #20221017 | 2026-07-31 | GreenScreen ( Feb 2024)
SOYFOAM TF 1122 | Cross Plains Solutions LLC |  | Class A & B fires |  |  | v2.2(1e) #20241003 | 2026-07-31 | GreenScreen ( Feb 2024)
Soldberg 3% Mil-Spec SFFF | Perimeter Solutions LP |  | FF | This link will take you to the QPL list: QPD Search | Mil-spec 32725 |  |  | QPL List (Feb 2025)
SOLBERG VERSAGARD AS-100 FP | Perimeter Solutions LP |  | Class B | This link will take you off the GreenScreen website ; SOLBERG VERSAGARD AS-100 FP product page |  | v2.2 #20221047 | 2026-07-31 | GreenScreen ( Feb 2024)
Solberg Versagard AS-100 | Perimeter Solutions LP |  | Class B | This link will take you off the GreenScreen website ; SOLBERG VERSAGARD AS-100 product page |  | v2.1 #20221020 | 2026-07-31 | GreenScreen ( Feb 2024)
SOLBERG VERSAGARD 1x3 | Perimeter Solutions LP |  | Class B | This link will take you off the GreenScreen website ; SOLBERG VERSAGARD 1x3 product page |  | v2.2 #20221048 | 2026-07-31 | GreenScreen ( Feb 2024)
Solberg RF3 | Perimeter Solutions LP |  | Class B |  |  | v2.2(1e) #20231022 | 2026-07-31 | GreenScreen ( Feb 2024)
SKUM® NFF-331 | Sabo Foam S.r.l. |  | Class B | This link will take you off the GreenScreen website ; SKUM® NFF-331 Product Page |  | v2.1 #20221029 | 2026-07-31 | GreenScreen ( Feb 2024)
SKUM® NFF 3x3 UL 201 | Sabo Foam S.r.l. |  | Class B | This link will take you off the GreenScreen website ; SKUM® NFF 3x3 UL 201 Product Page |  | v2.1 #20221018 | 2026-07-31 | GreenScreen ( Feb 2024)
Respondol ATF C 3x6 | Angus Fire |  | Class B | This link will take you off the GreenScreen website ; Angus Fire Fluorine Free Foams |  | v2.2(1e) #20221013 | 2026-07-31 | GreenScreen ( Feb 2024)
Respondol ATF C 3x3 | Angus Fire |  | Class B | This link will take you off the GreenScreen website ; Angus Fire Fluorine Free Foams |  | v2.2(1e) #20221012 | 2026-07-31 | GreenScreen ( Feb 2024)
Respondol ATF 3/3 | Angus Fire |  | Class B | This link will take you off the GreenScreen website ; Angus Fire Fluorine Free Foams |  | v2.2(1e) #20211136 | 2026-07-31 | GreenScreen ( Feb 2024)
PHOS-CHEK® 1% FLUORINE- FREE | Perimeter Solutions LP |  | Class B |  |  | v2.2(1e) #20231023 | 2026-07-31 | GreenScreen ( Feb 2024)
Phos-Check 3% Mil-Spec SFFF | Perimeter Solutions LP |  | Class B | FOR PRODUCTS MADE IN THE UNITED STATES ONLY |  | v2.2(1e) #20241002 | 2026-07-31 | GreenScreen ( Feb 2024)
MuniF3 Green Plus 3% | National Foam, Inc |  | Class B | This link will take you off the GreenScreen website ; National Foam Fluorine Free Foams |  | v2.2(1e) #20211134 | 2026-07-31 | GreenScreen ( Feb 2024)
MuniF3 Green 3% Synthetic Fluorine Free Foam | National Foam, Inc |  | Class A & B fires | This link will take you off the GreenScreen website ; National Foam Fluorine Free Foams |  | v2.2(1e) #20211138 | 2026-07-31 | GreenScreen ( Feb 2024)
Micro-Blaze Out | Verde Environmental, Inc |  | Class A & B Wetting Agent | This link will take you off the GreenScreen website ; Micro-Blaze Out product page |  | v2.1 #20211147 | 2026-07-28 | GreenScreen ( Feb 2024)
Jetfoam ICAO-C 6% | Angus Fire |  | Class B | This link will take you off the GreenScreen website ; Angus Fire Fluorine Free Foams |  | v2.2(1e) #20211159 | 2026-07-31 | GreenScreen ( Feb 2024)
Jetfoam ICAO-C 3% | Angus Fire |  | Class B | This link will take you off the GreenScreen website ; Angus Fire Fluorine Free Foams |  | v2.2(1e) #20211158 | 2026-07-31 | GreenScreen ( Feb 2024)
HYDRAL 3-3 NFF UL 201 | Sabo Foam S.r.l. |  | Class B | This link will take you off the GreenScreen website ; HYDRAL 3-3 NFF UL 201 Product Page |  | v2.1 #20221019 | 2026-07-31 | GreenScreen ( Feb 2024)
GREENFIRE® FIREFIGHTING FOAM (GFFF) | Fire Suppression Innovations |  | Class B |  |  | v2.1 #20211137 | 2026-07-31 | GreenScreen ( Feb 2024)
Frontier 3% | Angus Fire US |  | Class A & B fires | This link will take you off the GreenScreen website ; Angus Fire Fluorine Free Foams |  | v2.2(1e) #20211160 | 2026-07-31 | GreenScreen ( Feb 2024)
Foam Master 3F 33 | Eau et Feu |  | Class B | This link will take you off the GreenScreen website ; Eau et Feu Website |  | v2.2(1e) #20231011 | 2026-07-31 | GreenScreen ( Feb 2024)
Firebull AB | Enforcer One, LLC |  | Class A & B Wetting Agent | This link will take you off the GreenScreen website ; Firebull AB product page |  | v2.2 #20231015 | 2026-07-31 | GreenScreen ( Feb 2024)
Enviro USP | Dafo Fomtec AB |  | Class B | This link will take you off the GreenScreen website ; Enviro USP Product Page |  | v2.2 #20221041 | 2026-07-31 | GreenScreen ( Feb 2024)
Enviro Ultra | Dafo Fomtec AB |  | Class B | This link will take you off the GreenScreen website ; Enviro Ultra Product Page |  | v2.2 #20221045 | 2026-07-31 | GreenScreen ( Feb 2024)
Enviro ERS | Dafo Fomtec AB |  | Class B | This link will take you off the GreenScreen website ; Enviro ERS Product Page |  | v2.2 #20221042 | 2026-07-31 | GreenScreen ( Feb 2024)
Enviro ARK | Dafo Fomtec AB |  | Class B | This link will take you off the GreenScreen website ; Enviro Ark Product Page |  | v2.2 #20221044 | 2026-07-31 | GreenScreen ( Feb 2024)
ECOPOL F | BIOEX |  | Class A & B Wetting Agent |  |  | v2.1 #20211016 | 2026-07-31 | GreenScreen ( Feb 2024)
ECOPOL | BIOEX |  | FF |  |  | v2.1 #20211017 | 2026-07-31 | GreenScreen ( Feb 2024)
Eco 1 | Fogmaker International |  | Class A & B Wetting Agent | This link will take you off the GreenScreen website ; Fogmaker Website |  | v2.2(1e) #20231016 | 2026-07-31 | GreenScreen ( Feb 2024)
DWIGHT’S SHIELD SERIES AR-Synthetic 3x3% | Perimeter Solutions LP |  | Class B | This link will take you off the GreenScreen website ; DWIGHT’S SHIELD SERIES AR-Synthetic 3x3% Product Page |  | v2.1 #20221022 | 2026-07-31 | GreenScreen ( Feb 2024)
CHEMGUARD® NFF-331 | Tyco Fire Protection Products |  | Class B | This link will take you off the GreenScreen website ; CHEMGUARD® NFF-331 Product Page |  | v2.1 #20221028 | 2026-07-31 | GreenScreen ( Feb 2024)
CHEMGUARD® NFF 3x3 UL 201 | Tyco Fire Products, LP |  | Class B | This link will take you off the GreenScreen website ; CHEMGUARD® NFF 3x3 UL 201 Product Page |  | v2.1 #20221016 | 2026-07-31 | GreenScreen ( Feb 2024)
AvioF3 Green KHC 6% | National Foam, Inc | USA | FF | This link will take you off the GreenScreen website ; National Foam Fluorine Free Foams |  | v2.2(1e) #20211157 | 2026-07-31 | GreenScreen ( Feb 2024)
AvioF3 Green KHC 3% | National Foam, Inc | USA | FF | This link will take you off the GreenScreen website ; National Foam Fluorine Free Foams |  | v2.2(1e) #20211156 | 2026-07-31 | GreenScreen ( Feb 2024)
AUXQUIMIA® UNIPOL-FF™ 1 | Perimeter Solutions LP |  | Class B |  |  | v2.2(1e) #20231024 | 2026-07-31 | GreenScreen ( Feb 2024)
Auxquimia Unipol-FF 3/3 | Perimeter Solutions LP |  | Class B |  |  | v2.1 #20221021 | 2026-07-31 | GreenScreen ( Feb 2024)
ANSUL® NFF-331 | Tyco Fire Protection Products |  | Class B | This link will take you off the GreenScreen website ; ANSUL NFF-331 Product Page |  | v2.1 #20221027 | 2026-07-31 | GreenScreen ( Feb 2024)
ANSUL® NFF 3x3 UL 201 | Tyco Fire Products, LP |  | Class B | This link will take you off the GreenScreen website ; ANSUL NFF 3x3 UL201 Product Page |  | v2.1 #20221015 | 2026-07-31 | GreenScreen ( Feb 2024)
ANSUL Liquid Vehicle System [LVS] NF-40 Agent | Tyco Fire Protection Products |  | Class B |  |  | v2.2(1e) #20231019 | 2026-07-31 | GreenScreen ( Feb 2024)
AvioF3 Green MIL 3% | National Foam, Inc | USA | FF | This link will take you to the QPL list: QPD Search | Mil-spec 32725 |  |  | QPL (Feb 2025)
ECOPOL A3+ MILSPEC | Bio-ex Inc | USA | FF | This link will take you to the QPL list: QPD Search | Mil-spec 32725 |  |  | QPL (Feb 2025
Soldberg 3% Mil-Spec SFFF (ESP) | Perimeter Solutions LP | USA | FF | This link will take you to the QPL list: QPD Search | Mil-spec 32725 |  |  | QPL List (Feb 2025)